## How to
1. This is a tool to assist in the proper completion of required Chapter 14 forms for job packet envelopes
2. Completely fill out the page named "General Info". This can be done by clicking on the tab marked
General info at the bottom of the workbook. This information will be populated on each form, where indicated in this workbook.
Please make sure you fill out every highlighted box. Do not leave the info that is in there from a previous job.
3. Each form can be accessed by clicking on the appropriate tab at the bottom of the screen if needed.
4. To print the "pre-filled" job pack click on the "Job Start Def" tab. Then click on the shift key
and click on the last form that you want to print (for collo jobs, you will need to print the CLEC forms).
You can also select "Entire Workbook" from the print option box and then discard the "How to" and "General info" sheets.

## General info
Fields in RED must be filled out on all jobs. Fields in Blue are Required for CLEC jobs
BVAPP
Job ID
CLEC Name
CLEC location ID
CLLI
Address ID
Cental office name
CO Address
City,State, Zip Code
Design Engineer
Design Engineer RC code
Installation Company
QTI manager
Managers phone number
Analytical Associate
AA Phone
AA Fax
Note on B2: cparadi: Please use capital letters.
Note on B5: cparadi: Use only for collos. Please use capital letters
Note on B6: cparadi: Please use capital letters
Note on B4: cparadi: Use only for collo jobs
Note on B3: cparadi: This is the same as the BAN #. Please use capital letters

## Job Start Def
From: Dave Moore, Director-WMC, David Fong, Director-QTI South, and Ann Fletcher, Director-QTI North
To: Qwest Installation Managers, Installation Vendor Contacts
SUBJECT: INSTALLATION JOB START DATE DEFINITIONS & ACTIONS
It is also important to note that completion of the "Job Start" function will be measured on all jobs,
and will be reviewed as an input to gauge overall performance. These measurements will be
available weekly via reports generated by the WMC.
1) Installation crews will complete the following "Job Start" functions no later than 3 calendar
days after the DWP Materials Availability date. This is to occur even if there is insufficient
material to actually start the Physical work on the job in order to identify and solve all
potential installation problems early in the process.
2) Completing the "Job Start” function is defined as:
a) Verifying that the engineering package in-hand at the beginning of the "Job Start"
function is the latest version generated by the engineer. This version is available on IOT,
the DWP server, or by calling the engineer listed on the specification.
b) Verifying that the job (DWP document) is feasible, as engineered, to include:
I) Determining that all cable-racking runs required to complete the job are not impeded.
II) Determining that all cabling radius bends can be installed to 77350 standards.
III) Determining that all assignments for power, signal, synch, alarms, etc.
IV) Determining that the materials ordered on the job spec allow the satisfactory
completion of the job.
c) Verifying that materials are satisfactory for job start:
I) All materials ordered have been received by the installation crew, or have been
verified to be available at an off-site storage facility.
II) This verification is not merely a check of a Procurement system. It is either a
physical check of as many of the package contents as practical, or verification of
contents using a bar-coded receiving system to ensure that the materials meet
the job requirements and Job Finder Report contents. The purpose is to identify
engineering ordering or materials delivery problems as early as possible.
III) Examples (not meant to be all-inclusive):
(1) Actually open boxes to check packing slips vs. contents.
(2) Do not need to unravel cable reels to verify footage, but be aware as
installation progresses.
(3) Check that BOM and packing slip and item itself are consistent.
(4) Check to see that panels that expand bay capacity are the correct
types for the existing bay.
IV) Ensuring that any additional material needs are identified and ordered as soon as
possible.
d) Verifying that Real Estate items are satisfactory to begin work
(i.e. Cable holes cut, Collocation Cage placed, etc.)
3) Actually begin the physical work on the job is desired, but not required for completion of "JobStart ”
functions.
4) COMMUNICATIONS - When the "Job Start" functions are complete:
a) The IOT date will be updated
b) Notes (including use of IOT Jeopardy Codes) of any issues uncovered during the process will be
entered.
c) Method of Procedures will be provided to the WMC - this is the document that the WMC will use
in verifying Job Start function completion.
d) Escalation processes will be followed as defined in writing by installation leadership.

## NAVL WAREHOUSES
PHOENIX,AZ | NAVPHAZ | TUCSON, AZ | NAVTUAZ
VALLEY NORTH AMERICAN |  | VALLEY NORTH AMERICAN
6652 W. BUCKEYE ROAD |  | 7825 N. HARTMAN LANE
85043 |  | 85743
KAREN BELLAR (602)-252-6531 |  | DEREK BANATTA (800)-346-3895
MICHELLE VALENZUELA (800)-528-5508 |  | JOSEPH LOUSTAUNAU (520)-744-9700
DENVER, CO | NAVDECO | COLORADO SPRINGS, CO | NAVCOCO
A-1RELOCATION/LOGISTICS |  | A-1 RELOCATION
3293 OAKLAND STREET |  | 2445 WAYSIDE COURT
80010 |  | 80915
DANIEL HERNANDEZ (303)-364-2684 |  | DEE MONTGOMERY (719)-550-9700
SECONDARY CONTACT: HOLLI EDWARDS |  | SECONDARY CONTACT: NATASHA SOLIS
GRAND JUNCTION, CO | NAVGRCO | CHEYENNE, WY | NAVCHWY
MESA MOVING AND STORAGE |  | BURKE MOVING AND STORAGE
681 RAIL ROAD BLVD |  | 388 NORTH AMERICAN ROAD
81505 |  | 82007
JOHN MOATES (970)-242-1565 EXT. 369 |  | JOHN MARTINEZ (307)-632-5536
MARK THOMPSON (800)-654-3225 EXT. 349 |  | CARMEN MARTINEZ
CASPER, WY | NAVCAWY | BOISE, ID | NAVBIOD
WYOMING TRANSFER |  | AIR VAN NORTH AMERICAN
12368 WEST MONSANTO STREET
82601 |  | 83713
PAM HALL (800)-711-3826 |  | CAROLINE (208)-375-7437
PAM HALL (307)-234-2203 |  | DONNA JOE (208)-375-0078
POCATELLO, ID | NAVPOID | JOHNSTON, IA | NAVDEIA
LEE HAWKES TRANSFER |  | BELTMANN NORTH AMERICAN
575 S. SECOND STREET |  | 5605 NORTHWEST 100TH ST.
83201 |  | 50131
KATHY ADAMS (800)-777-4395 |  | KELLY LEUTZINGER (515)-986-5559
BRYAN COOPER (208)-233-2337 |  | LINDA WARKOW (800)-398-5550
NORTH LIBERTY IOWA | NAVIOIA | SIOUX FALLS, SD | NAVSISD
HAWKEYE NORTH AMERICAN |  | BROUWER RELOCATION
2870 STONER COURT |  | 3503 N. 1ST AVE
52317 |  | 57104
JULIE KRETZSCHMAR (800)-397-3700 EXT. 230 |  | JARRED BROUWER (605)-333-0620
STACEY COLE (319)-665-4020
OMAHA, NE | NAVOMNE | ST PAUL, MN | MANSTMN
ACE STORAGE |  | BELTMANN NORTH AMERICAN
7820 L STREET |  | 2480 LONG LAKE ROAD
68127 |  | ROSEVILLE,55113
SCOTT VAUGHN (402)-593-1234 |  | CHRIS SANIO (800)-949-8880 EXT. 2910
BARBARA VAUGHN |  | JOHN ROIGER (651)-639-2880
FARGO,ND | NAVFAND | BILLINGS,MT | NAVBIMT
FETTES MOVING AND STORAGE |  | KING TRANSFER
3939 7TH AVE |  | 7232 GRAND AVE.
58102 |  | 59106
ARLENE DITTUS (800)-325-3696 |  | STEVE CORDEIRO (406)-656-5464
DAVE GLASER (701)-277-3631 |  | ALLAN NICHOLS (406)-252-6394
LAC CRUCES, NM | NAVLANM | ALBUQUERQUE, NM | NAVALNM
PAUL MORGAN MOVING AND STORAGE |  | VALLEY NORTH AMERICAN
2180 W. HADLEY |  | 499 INDUSTRIAL BLVD
88004 |  | 87107
BARBARA MORGAN (505)-524-1821 |  | PAUL (800)624-2219
GLENN MORGAN |  | ROBERT (505)344-9030
EUGENE, OR | NAVEUOR | PORTLAND,OR | NAVPOOR
EUGENE MOVING AND STORAGE |  | AIR VAN NORTH AMERICAN
260 FERRY STREET |  | 20141 S.W. 95TH PLACE
97401 |  | TUALATIN 97062
SUE STRIBLING (800)-683-3902 |  | STEPHANIE BOETGER (800)-862-4801
KENN PENWELL (541)-683-3900 |  | AUTUMN MENDENHALL (503)-885-2353
Page 1 of 2
PASCO, WA | NAVPAWA | MEDFORD, OR
AIR VAN NORTH AMERICAN |  | CUMMING TRANSFER
2440 E. AINSWORTH |  | 2061 LARS WAY
99301 |  | 97501
RANDY COX (800)-456-0925 |  | KIM WATERBURY (800)-866-9640
ERIC BENDER (509)-547-0528 |  | JENA SANDERS (541)-772-6278
SPOKANE, WA | NAVSPWA | SEATTLE, WA | NAVSEWA
LILE MOVING AND STORAGE |  | AIR VAN NORTH AMERICAN
E. 6111 VALLEY WAY |  | 7501 HARDESON ROAD
99212 |  | EVERETT 98203
SHANTEL (800)-543-1554 |  | SARAH KENNEDY (800)-213-6923
SHANTEL WILSON |  | SUE CROLLEY (425)-514-3000
RAPID CITY, SD | NAVRASD | SALT LAKE CITY, UT | NAVSAUT
GREENS MOVING & STORAGE |  | REDMAN VAN AND STORAGE
1115 EAST NEW YORK STREET |  | 2589 S.2570 W.
57701 |  | WEST VALLEY CITY 84119
GAY WHALIN (605)-342-7060 |  | LYNN CHANDLER (800)-733-6261
LARRY CHRISTOFFERSON |  | SALLY BARRUS (800)-733-6261
BISMARK,ND | NAVBIND | MISSOULA, MT | NAVMIMT
JOBBERS MOVING & STORAGE |  | MONTANA TRANSFER COMPANY
1200 INDUSTRIAL DRIVE |  | 200 TRADE STREET
58501 |  | 59808
PRISCILLA KASTROW (701)-222-1111 |  | JARRET HOKE (800)-447-7557
CAROL NORTON |  | CLINT BAERTSCH (406)-728-8080
IF CONTACT CAN NOT BE MADE WITH NUMBERSL
PROVIDED ABOVE, PLEASE CONTACT:
JEFF RYAN 303-599-1902 PAGER
JOHN MCCORMICK 303-881-8976 CELL
OR JOHN RULLA 720-320-1084 CELL
Page 2 of 2

## Excess Warehouses
EXCESS MATERIAL WAREHOUSES
ARIZONA
Valley North American
6652 W. Buckeye Rd.
Phoenix AZ 85046
Contact: Adam
Phone: 602-484-7486
Fax: 623-936-2683
COLORADO
A-1 Relocation
3293 Oakland St.
Denver, CO 80216
Contact: Daniel Hernandez
Phone: 303-364-2684
Fax: 303-364-0903
MINNESOTA
Beltman North American
2480 Long Lake Rd.
Roseville, MN 55113
Contact: Jessie
Phone: 651-639-2846
Fax: 651-639-2929
OREGON
Air Van North American
20141 SW 95th Place
Tualatin, OR 97062
Contact: Autumn
Phone: 503-885-2353
Fax:
UTAH
Redman Van and Storage
2589 S. 2570 W.
West Valley, UT 84119
Contact: Steve Morino or Brandie Shipley
Phone: 801-972-4420 x345
Fax: 801-886-0522
WASHINGTON
Air Van North American
7501 Hardeson Road
Everett, WA 98203
Contact: Bob McDonald
Phone: 800-213-6923
Fax: 425-347-9214

## Document Routing Checklist
Retained in White Envelope (RG51-0083) at Central Office for 180 days | OK | FAX TO WMC or SUBMIT IN IOT | OK | SEND TO WMC (with completed job packet) | OK
Design Work Package (DWP) and Detail Spec
MOP/General & Detailed RG 47-0005 & 47-0006 |  | MOP/General & Detailed RG 47-005 & 47-006
Job Log RG 41-0046 |  |  |  | Job Log RG 41-0046 (if not contained in IOT)
Material Shortage Form RG 47-0166 |  | Material Shortage Form RG 47-0166
Cable Test Record(s) RG 47-0157 |  | Test Record(s) RG 47-0157 (on Collocation line sharing or virtual jobs must be faxed w/ICN beginning 4/1/02) |  | Test Record(s) RG 47-0157 (if not previously faxed)
Job Information Memorandums (JIMS) RG 47-0004 |  | Job Information Memorandums (JIMS) RG 47-0004
Letter(s) Of Deviation (if issued) |  |  |  | Letter(s) Of Deviation (if issued)
Service Interruption / Degradation Report (if problem occurred) RG 47-0013 |  |  |  | Service Interruption / Degradation Report (if problem occurred) RG 47-0013
Installation Assignment & Capacity Sheet (Alarm sheet) RG 41-0170
Job Start & Completion Checklist RG 47-0158 |  |  |  | Job Start & Completion Checklist RG 47-0158
Installation Revised / Completion Form RG 47-0002 |  | Installation Revised / Completion Form RG 47-0002
Document & Material Disposition RG33-0043 |  |  |  | Document & Material Disposition RG33-0043
Quality Checklist RG 47-0161 |  | Quality Checklist RG 47-0161 (must be faxed on job completion on collocation jobs. |  | Quality Checklist RG 47-0161 (if not previously faxed)
Certified Local Exchange Carrier (CLEC) Report RG 47-0160 (must also leave copy in CLEC cage or posted at CLEC site)
Request for Disposition of Qwest Communications Material RG47-0010
Bill(s) of Lading RG 33-0017
Marked Drawings |  |  |  | Marked Drawings (GOES TO ENGINEERING NOT WMC)
Report of Equipment Disconnected from Plant RG47-0009 (Removal jobs only) |  | Report of Equipment Disconnected from Existing Plant RG47-0009 (Required by engineering on removal jobs) |  | Report of Equipment Disconnected from Existing Plant RG47-0009 (Required by engineering on removal jobs if not previously faxed)
Storage Battery Acceptance Report RG 47-0001 (Power jobs only)
Refer to Pub 77350 Section 13 and 14 for additional requirements of paper work to be placed inside the Job Packet.

## AC Elec Quote Form
AC Electrical Work Quote Form
Date ____________________________________________________
BVAPP# | 0
Installation Supplier (if not QTI)____________________________________
Contact ________________________________________
Phone _________________________________________
Electrical Vendor ______________________________________________
Contact ________________________________________
Phone _________________________________________
Qwest Engineer/Planner ________________________________________
Phone ________________________________________
Qwest Installer ________________________________________________
Phone _________________________________________
Description of work performed e.g. placing/removing AC outlets,
lighting, junction boxes, AC runs, etc., ______________________________
______________________________________________________________
______________________________________________________________
______________________________________________________________
______________________________________________________________
Qwest Central Office __________________
(CLLI code and state)
Estimated Complete Date _______________
Labor $_____________________________
Hours ______________________________
Rate/per hour $________________________
Material (if applicable) $________________
Detailed Material List - Please attach a list of Electrical Vendor provided material and Qwest provided
material (if applicable). Included in the Material List needs to be; line item detail, quantities and unit
prices for each part.

## RG09-1031
CLASS 3 ASBESTOS WORK NOTIFICATION FORM
THESE PROCEDURES MUST BE FOLLOWED WHENEVER YOU ARE PERFORMING AN
INSTALLATION THAT INVOLVES DRILLING THROUGH FLOOR TILES THAT CONTAIN
ASBESTOS OR IF YOU ARE UNSURE OF THE ASBESTOS CONTENT. DO NOT PERFORM
THIS TYPE OF WORK UNLESS YOU HAVE RECEIVED THE INITIAL CLASS 3 ASBESTOS
FLOOR DRILLING COURSE AND HAVE MAINTAINED CURRENT ANNUAL REFRESHER TRAINING:
 Assemble tools and equipment: (drill; Vaseline; spray detergent; paper wipes; towels; Ziploc bags;
labeled asbestos bags; cans or containers; eye protection).
 Mark the floor where you intend to drill.
 Spread Vaseline in a 5-inch diameter circle, 1/4 inch thick, surrounding your drill point
(if accuracy is important, stick an object into the Vaseline to determine where the mark is).
 Place drill bit at the drilling point and drill at the slowest practical speed. The early debris is the material
from the tile. The later gray material is concrete dust formed into a Vaseline slurry.
 Remove the drill and wipe the floor and bit with paper towels. Clean the resulting oily surfaces with a spray detergent.
 Place all used towels in a large Ziploc bag and place the bag in a properly labeled asbestos bag,
can or container for disposal.
 Coordinate the disposal of the asbestos waste with your Regional Environmental Coordinator.
PLEASE COMPLETE THE FOLLOWING QUESTIONNAIRE WHENEVER YOU HAVE
DRILLED THROUGH FLOOR TILE THAT CONTAINS ASBESTOS OR IF YOU ARE UNSURE
OF WHETHER IT CONTAINS ASBESTOS AND RETURN IT TO THE ADDRESS LISTED AT
THE BOTTOM OF THIS DOCUMENT:
Did you follow the work procedures listed: Yes_________ No___________
If you did not follow the procedures listed above, please explain the procedures that were followed:
Please list the address of the building and room (area) in which you performed the work:
What types(s) of asbestos containing material (ACM) or presumed asbestos containing material
(PACM) was disturbed (9x9 or 12x12 floor tiles, etc.)
_________________________________________________________________________________________________
Please describe the work that was performed (drilling, number of holes drilled, etc.)
By signing this document, I am confirming that the information above is as complete and accurate as possible.
Printed Name: __________________________ Signed Name: _________________________________
Telephone Number: ______________________
Please fold and tape this form and send it to: Mike Beekman, 1801 California St., Suite 1160, Denver,
CO 80202 or FAX a copy to Mike Beekman, Manager, Industrial Hygiene at (303) 672-2929. If you
have urgent questions, please contact your Regional Safety or Environmental Coordinator. Thank you.

## RG33-0017
Can be ordered from Forms Associates 402-592-7888

## RG33-0043
DMD Number |  |  |  | Date
Document and Material Disposition
City , State |  | Office |  | Order Number
0 |  | 0 |  | 0
Shipped To: |  |  | Shipped via:
Quantity | Description |  |  | Item Number | Spec Number
Remarks:
Form Completed by: |  |  | Material/Document Received by:

## RG41-0046
INSTALLATION JOB LOG
BVAPP #
0
DATE: | DETAILS:

## RG41-0170, pg 1
INSTALLATION ALARM ASSIGNMENT AND CAPACITY SHEET #1
|  | Date Faxed: |  | Number of pages including cover sheet:
1. | To: NMA DATABASE Name: ____________________________ Phone #: _763-536-3888_______________ Fax #: _763-536-3799_______________ |  |  | 2. | From: INSTALLER Name: ____________________________ Phone #: ____________________________ Page #: ____________________________ Vendor Name:
To: QWEST ENGINEER Name: ____________________________ Phone #: ____________________________ Fax #: ____________________________
CLLI: ____________________________ BVAPP #: ____________________________ EST #: ____________________________
3. | IS THIS JOB AN ALARM ADDITION: |  |  | OR | REMOVAL:
4. |  |  | INSTRUCTIONS FOR COMPLETION
All jobs requiring alarms must be surveyed at Job Installation Start. The installer WILL be responsible for completing the Installation Assignment and Capacity Sheet and faxing (Cover page and all Assignment page(s)) to both the Qwest Engineer and the NMA Database Group, within a minimum of 48 hours up to a maximum of 72 hours of installation complete.
Before the job is completed the installer WILL be responsible for wiring and testing all Discrete and Serial alarms required with the NMA Database Group (Phone #763-536-3888). After testing, NMA will issue a LOG #. Record LOG # on Installation Alarm Assignment & Capacity Sheet and on the RG-47-0002 (ICN - Installation Completion Notice). If there were alarms that could not be tested the Installer WILL fill out the Alarm / OSS Testing Incompletion Tag, including the NMA LOG #, and tie it onto the appropriate piece(s) of equipment. In the Capacity Note Section, located on Sheet 2, provide any information concerning capacity needs and / or requirements for future installations.
EXPLANATION OF FIELDS
| 1. | NMA Database Group and Qwest Engineer contact information to be supplied by Installer.
| 2. | Installer information (including job information) to be filled out by Installer completing the form.
| 3. | Designate whether this job adds alarms or removes alarms, NMA needs all information either way.
| 4. | Instructions for filling out the Installation Alarm Assignment and Capacity Sheets 1 and 2.
| 5. | Installer name, phone # (and/or page #), etc., to be filled in by the Installer before faxing.
| 6. | After testing record LOG #, issued by NMA.
| 7. | Capacity Notes are to be used to identify potential shortages in Discrete & Serial alarms, for
future growth.
| 8. | Alarm Bay is the Relay Rack location of the bay containing the alarm equipment.
| 9. | Shelf is the shelf designation for the alarm assignments.
| 10. | ETEL is the designation for the alarm assignments.
| 11. | Address/Remote (alarm).
| 12. | Additional Comments
| 13. | If alarms can not be tested; Fill out Alarm / OSS Testing Incompletion Tag; Attach (w/string) to
each piece of equipment (i.e. shelf). This may require more than (1) one Alarm / OSS Tag.

## RG41-0170 pg 2
5. | Installer: __________________ |  |  |  | Phone #: ____________ |  |  | Pager #: ____________ |  | PIN#: __________ |  | Vendor |  | 0
| CLLI: | 0 |  |  |  | BVAPP: | 0 |  | JOB ID#: | 0
6. | LOG #:_____________________________ | [5 empty] | NMA Phone #: 763-536-3888 / NMA Fax #: 763-536-3799
7. | Discrete & Serial CAPACITY NOTES:
SERIAL ALARMS:
8. | Alarm Bay: 9. Shelf: 10. ETEL: 11. Address/Remote: (#)
ALARM UNIT INFORMATION
| MAP | MAC | PORT | DISPLAY# | SDR # | EQUIPMENT TYPE / RR / SHELF |  |  |  |  | TERMINAL |  | PUNCHING |  |  | LEAD XMT+ XMT- RCV+ RCV-
| Serial Alarms Tested By: | [7 empty] | Date:
DISCRETE ALARMS:
8. | Alarm Bay: 9. Shelf: 10. ETEL: 11. Address/Remote: (#)
|  |  | DATA BASE INFO |  | TERMINATING EQUIPMENT (NE) INFORMATION | [7 empty] | EQUIP X-CONN |  |  | ASSN X-CON
| SDR # | *BIT | Alarm Message |  | Equipment Type / RR / Shelf |  |  | Intfc Dwg | Figure | TS | Alm | Rtn | TB | Alm | Rtn | TB | Alm | Rtn
* Place a BIT/C in the BIT column if alarm is wired-out Normally Closed
| Discrete Alarms Tested By: | [7 empty] | Date:
12. | Additional Comments:
13. | If alarms can not be tested; Fill out Alarm / OSS Testing Incompletion Tag; Attach (w/string) to each piece of equipment (I.e. shelf). This may require more than (1) one Alarm / OSS Tag.
NOTE: If more space is needed to record alarms use additional copies of this sheet / or attach blue line with all the appropriate information.

## RG41-0173
Alarm/OSS Incomplete Testing Tag can be ordered from Graybar PN#101401-Q

## RG47-0001
STORAGE BATTERY CHARGE RECORD AND END OF CHARGE REPORT
(Note: Use one set of forms per string and Ref. 77350, Chapter 10)
Page 2 of 2
Plant ID:
String:
| {Cell Voltage readings for first 100 hrs. of charge} | [5 empty] | {Additional Hours of Charge as Needed}. |  |  |  |  | {End of Charge Readings}.
DAY | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | Volts | Corr. Gravity | Temp
DATE
TIME
CELL#
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Charger AMPS
FOOTNOTES
1. Battery charger must be able to supply enough current and voltage to bring the string up to charge level. The charger shall be
at least 1/100th of the battery amp hr. rating. Example 4000 amp hr. batteries would require a min. 40 amp charger.
2. Charge level is when the (First) cell reaches 2.38V to 2.50V, per mfg. Requirements (Do not exceed 2.55 V on any of the cells
during this charge process). When this level is reached the 100 hours (minimum) of charge is started to bring all the cells up to this level.
3. End of charge readings are taken when:: Three consecutive hourly readings show all cells within (+/-0.05V) of string average charge level,
while still on charge. Average charge level is ;the total of all cell readings divided by 24.
STORAGE BATTERY CHARGE RECORD AND END OF CHARGE REPORT
(Note: Use one set of forms per string and Ref. 77350, Chapter 10)
Page 1 of 2
JOB INFORMATION |  |  |  | BATTERIES AS RECEIVED OPEN CELL DATA | [7 empty] | BATTERIES AT TURNOVER (ON FLOAT)
(Note: Must be on float at least 24 hrs.)
Plant ID: ________ String: _________ |  |  |  | Cell # | SERIAL # |  | MFG. Date | Voltage | Corr. Specific Gravity | Acid Level |  | Cell# | Voltage | Temp Deg. F. | Corr. Specific Gravity | Within -2.14V and -2.27V Avg. Voltage? (Y or N)
PHONE COMPANY |  |  |  | 1
CENTRAL OFFICE |  |  |  | 2
CITY & STATE |  |  |  | 3
ADDRESS |  |  |  | 4
5
SUPPLIER |  |  |  | 6
SUPP. ORDER# |  |  |  | 7
BVAPP # |  |  |  | 8
JOB ID # |  |  |  | 9
ADDRID |  |  |  | 10
CLLI CODE |  |  |  | 11
INSTALLER NAME |  |  |  | 12
BATTERY MFG |  |  |  | 13
BATTERY MODEL |  |  |  | 14
CATALOG# |  |  |  | 15
DATE RECEIVED |  |  |  | 16
CHARGE BY DATE |  |  |  | 17
TORQUE Value |  |  |  | 18
PLANT Float Voltage |  |  |  | 19
NOMINAL Float Voltage |  |  |  | 20
TEMP.REF.CELL # |  |  |  | 21
TURNOVER DATE |  |  |  | 22
Turnover Avg. Voltage |  |  |  | 23
ACCEPTED BY: |  |  |  | 24
FOOTNOTES
|  | 1. Nominal float voltage is plant float voltage divided by 24 cells | [7 empty] | 4. Temp.Ref.Cell will be selected as Defined in 77350,
|  | 2. Turnover Avg. Cell Voltage = measurement between -2.14V and -2.27V per cell. | [7 empty] | 5. Batteries must be on float 48 hours. Before connecting to plant.
|  | (Note that all cells must be within +/- 0.05 of the average voltage) | [7 empty] | 6. Acid Level: check to see if the acid level is acceptable; if so mark O.K.
|  | 3. Accepted By must be a Power Tech. Or COT/Supv. In charge | [7 empty] | 7. All measurements shall be rounded to the nearest 100ths digit
(Ex: 2.511V through 2.514V = 2.51V, and 2.515V through 2.519V - 2.52V)

## RG47-0002
Installation / Revised Completion Notice
| Confirmation of Installation Completion | [8 empty] | Advance
|  |  | Network Monitoring and Analysis (NMA) Confirmation # | [6 empty] | Partial
Final
PNAR #
| Request for Revised Completion | [8 empty] | Reschedule
Marked Drawing, Date sent to Design Engineer
City, State, and Zip | [6 empty] | Office / CLLI
0 | [6 empty] | 0 |  |  | 0
Design Engineer's Name |  |  |  |  | Job # |  |  | BVAPP #
0 |  |  |  |  | 0 |  |  | 0
Scheduled Dates: |  |  |  |  | Start |  |  | Complete
Actual or Rescheduled dates: |  |  |  |  | Start |  |  | Complete
Equipment Involved; Exception Items
Reason for Reschedule
Service Supplier Company Name and Signature | [8 empty] | Date
For QWEST Use Only
This is: |  |  |  | Accepted |  | Not Accepted
If NOT Accepted, Reasons:
Operations Representative Printed Name | [8 empty] | Date
Operations Representative Signature | [8 empty] | Telephone
Design Engineer Name | [8 empty] | Date
Design Engineer Signature | [8 empty] | Telephone

## RG47-0004
Job Information Memorandum
Date
City, State and Zip |  |  |  |  | Office | [6 empty] | BVAPP# |  | JIM No.
0 |  |  |  |  | 0 | [6 empty] | 0
Service Supplier Company Name
0
Subject
Spec. Item Number
Confirming Telephone Call
From Installer |  |  |  | To Engineer | [8 empty] | Date
Drawing Change Req | [5 empty] | Job Cost Affected
| Yes | No |  |  |  |  | Yes |  |  | No
Additional Material Req | [5 empty] | Spec Appendix Req
| Yes | No |  |  |  |  | Yes |  |  | No
Problem Description
Suggested Remedy
[7 empty] | Total Hours: |  |  |  |  | Total Cost:
Effect on Job Completion Date
Submitted By: | [8 empty] | Telephone No.
Address | [8 empty] | Email Address
City |  |  | State |  |  |  |  | Zip Code
0

## RG47-0005 General MOP
General Method of Procedure
COE Installation / Removal / Modification
Service Assurance Contact No.: 1-800-830-0722
Service Assurance Power Contact No.: 1-800-713-3666
City, State: | 0 |  |  | Office: | 0 |  |  | Office Location: | 0 |  |  |  | Phone:
Start Date: |  |  |  | Start Time: |  |  |  | Complete Date: |  |  |  |  | Completion Time:
QWEST | [5 empty] | Supplier / Vendor | [5 empty] | System Type
BVAPP: |  | 0 |  |  |  | Name: |  | 0 |  |  |  | Switch | Type: _______________
[12 empty] | Toll | Real | Estate
Job ID: |  | 0 |  |  |  | PNAR: | [5 empty] | Fiber |  | Radio
[12 empty] | Power |  | Other
Detail below all steps necessary to explain the work to be performed. Steps should be numbered and appear in the order in which they occur, with the work operations responsibility indicated by checking the appropriate box(es). Work should not begin until this form has been reviewed and signed by Qwest and Supplier respresentatives. This form may be duplicated if additional space is required. All information must comply with Qwest Technical Publication 77350.
Have You Considered? |  |  | Step |  | Description | [8 empty] | Qwest | Supplier
-Equipment added |  |  | 1
(List all Added equipment and work locations) |  |  | 2
-Equipment Removed |  |  | 3
-Equipment compatibility |  |  | 4
-Affected working circuits |  |  | 5
-Restricted work hours |  |  | 6
-Work Area protection |  |  | 7
-Special Tools/Material |  |  | 8
-Tool insulation |  |  | 9
-Safety Considerations |  |  | 10
-Emergency equipment |  |  | 11
& procedures available |  |  | Equipment Added:
-Fuse Alarm Operations
-Location of Spare Fuses
-Records Correction |  |  | CABLED TO THE FOLLOWING LOCATIONS:
-Hazard material Handling |  |  | POWER
& disposal |  |  | DSX-1
-Personnel Experience |  |  | DSX-3
-Before and After Tests |  |  | MDF
-Technical References |  |  | ALARM
-Required QWEST Support |  |  | TIMING
-Emergency Restoration Plans |  |  | FIBER
-Fuses and leads tagged |  |  | MISC.
-Office records/drawing available |  |  | Authorized phone #: | [6 empty] | Authorized Fax #:
-Supplier Drawing available |  |  | Staging location:
-Mop Reference available |  |  | Admin work location:
The undersigned approve the procedures herein described as complete, whether a general or detail procedure. No changes shall be made without approval of both the QWEST Central Office Operations representative and the Installation Supplier Representative or Contract agent.
Name (Print & Signature) | [6 empty] | Title |  |  |  | Contact Numbers
Person Performing / In-Charge of Work (REQUIRED) | [10 empty] | 24 hr Emergency Contact Number: |  |  | Date
COEIT
Real Estate or Service Supplier Representative (REQUIRED) | [10 empty] | Phone: |  |  | Date
0 | [6 empty] | COEIT Supervisor |  |  |  | 0
Central Office Operations Manager or designed representative (REQUIRED) | [10 empty] | Phone: |  |  | Date
Central Office Operations ON CALL Support Technician | [10 empty] | Phone: |  |  | Date

## RG47-0005 Detailed MOP
Detailed Power Method of Procedure
COE Installation / Removal / Modification
Service Assurance Contact No.: 1-800-830-0722
Service Assurance Power Contact No.: 1-800-713-3666
City, State: | 0 |  |  | Office: | 0 |  |  | Office Location: | 0 |  |  | Phone:
Start Date: |  |  |  | Start Time: |  |  |  | Complete Date: |  |  |  | Complete Time:
QWEST | [5 empty] | Supplier / Vendor |  |  |  |  | System Type
BVAPP: |  | 0 |  |  |  | Name: |  | 0 |  |  | Switch Type: | Refer to RG 47-0162
[11 empty] | Toll |  | Estate
Job ID: |  | 0 |  |  |  | Job#: |  |  |  |  | Fiber |  | Radio
[11 empty] | Power |  | Other
Detail below all steps necessary to explain the work to be performed. Steps should be numbered and appear in the order with the work operations responsibility indicated by checking the appropriate box(es). Work should not begin until this form has been
Have You Considered? |  |  | Step |  | Description | [7 empty] | Qwest | Supplier
-Equipment added |  |  | 1
(List all Added equipment and work locations) |  |  | 2
-Equipment Removed |  |  | 3
-Equipment compatibility |  |  | 4
-Affected working circuits |  |  | 5
-Restricted work hours |  |  | 6
-Work Area protection |  |  | 7
-Special Tools/Material |  |  | 8
_Tool insulation |  |  | 9
-Safety Considerations |  |  | 10
-Emergency equipment |  |  | 11
& procedures available |  |  | 12
-Fuse Alarm Operations |  |  | 13
-Location of Spare Fuses |  |  | 14
-Records Correction |  |  | 15
-Harzard material Handling |  |  | 16
& disposal |  |  | 17
-Personnel Experience |  |  | 18
-Before and After Tests |  |  | 19
-Technical References |  |  |  |  | PNAR Number:
-Required QWEST Support |  |  |  |  | The following steps are to be followed to energize the power to CLEC CAGE/RR:
-Emergency Restoration Plans |  |  |  |  | BDFB/PBD:
-Fuses and leads tagged |  |  |  |  | BDFB or PBD LOAD "A" ASSIGNMENT:
-Office records/drawing available |  |  |  |  | BDFB or PBD LOAD "B" ASSIGNMENT:
-Supplier Drawing available
-Mop Reference available
The undersigned approve the procedures herein described as complete, whether a general or detail procedure. No changes shall be made without approval of both the QWEST Central Office Operations representative and the Installation Supplier Representative or Contract agent.
Name (Print & Signature) | [6 empty] | Title |  |  | Contact Numbers |  |  | Date
Person Performing /In Charge of Work (REQUIRED) | [9 empty] | 24 hr Emergency Contact Number: |  |  | Date
COEIT
Real Estate or Service Supplier Representative (REQUIRED) | [9 empty] | Phone: |  |  | Date
0 | [6 empty] | COEIT Supervisor |  |  | 0
Central Office Operations Manager or designed representative (REQUIRED) | [9 empty] | Phone: |  |  | Date
Central Office Operations ON Call Support Technician | [9 empty] | Phone: |  |  | Date

## RG47-0006 MOP pg 2
Method of Procedure
COE Installation / Removal / Modification
Service Assurance Contact No.: 1-800-830-0722 | [10 empty] | General
Service Assurance Power Contact No.: 1-800-713-3666 | [10 empty] | Detail
City, State: | 0 |  |  | Office: | 0 |  |  | Office Location: | 0 |  | Phone:
Start Date: |  |  |  | Start Time: |  |  |  | Complete Date: |  |  | Completion Time:
QWEST | [5 empty] | Supplier / Vendor |  |  |  | System Type
BVAPP: |  | 0 |  |  |  | Name: |  | 0 |  | Switch | Refer to RG 47-0162
[10 empty] | Toll | Real | Estate
Job ID: |  | 0 |  |  |  | PNAR: |  |  |  | Fiber |  | Radio
[10 empty] | Power |  | Other
Step | [11 empty] | Qwest | Supplier
***** THIS FORM MAY NOT BE SUBMITTED WITHOUT RG47-0005 CONTAINING THE SIGNING AUTHORITY *****
[5 empty] | Page |  | of

## RG47-0009
Report of Equipment Disconnected From Existing Plant
|  |  |  | Date: | _____________ | Sheet _______ | of __________
Design Engineer's Name |  |  | Address |  |  | Partial | Final
0 |  |  | 0
City, State, Zip |  |  | Office | USWC Spec |  | Order
0 |  |  | 0
| Quantity | Code | Description | Name of Circuit and Location From Which Disconnected. |  |  | Date Disconnected
| A | B | C | D |  |  | E
1
2
3
4
5
6
7
8
9
10
11
12
13
14
Service Supplier Representative

## RG47-0010
REQUEST FOR DISPOSITION
OF QWEST COMMUNICATIONS MATERIAL
Ship To Location |  |  | Street Address |  | City, State, Zip
Design Engineer's Name |  |  | Job Site Address |  | City, State, Zip
0 |  |  | 0 |  | 0
Tel. No. Engineer |  |  | Office Name | Returned By: |  |  | Phone
0
Address ID |  | FRC | Job ID | BVAPP # | RMA # (Provided By NEP For Vendor Claim)
0 |  |  | 0 | 0
Name NEP Expeditor |  |  |  | Date Notified NEP |  | Phone # of NEP Buyer
| Quantity | Part No. | Material Description (Include All Info) | Vendor | Reason For Return | # of Cartons | Keep | Junk
| A | B | C | D | E | F | G | H
1
2
3
4
5
6
7
8
9
10
Material returned to Vendor Name | D: Address; F: City,State, Zip
RMA#
*Class column (D) - Use Letter Symbols As Follows:
|  |  | D - Excess Ordered in Spec. Or Req. |  | H - Wrong Material Shipped - Correctly Ordered
A - Removed From Existing Plant | C: E - Furnished by Qwest (resued) - Not installed; E: J - Excess - More Shipped Than Ordered
B - Furnished in Spec. – Not Installed | C: F - Defective - replaced; E: K - Other reasons (Explain On reverse Side)
C - Furnished by Qwest (New) – Not Installed | C: G - Wrong Material Ordered; E: L - Vendor Claim (Must Notify NPC for Depot Orders)
To Be Completed By Warehouse
Name of Receiver | C: BOL # (Return from Field); F: Date Rec'd
ATTACH A COPY OF THIS FORM TO EACH BOX BEFORE RETURNING

## RG47-0013
Service Interruption / Service Degradation Report
To: |  |  | Location:
Office | City | State | BVAPP
0 | 0 |  | 0
Time & Date Reported |  | Time & Date Cleared
Type of Equipment |  | MOP Completed/Approved? ____Yes ____No
Description of Service Interruption:
Corrective Action Taken:
Service Supplier Company Name |  | Telephone #
Service Supplier Rep Signature: |  | Date:

## RG47-0145
Competitive Local Exchange Carrier (CLEC) Report
This audit report covers requirements for a Competitive Local Exchange Carrier's
(CLEC), physical location area(s). Defects noted on the list must be corrected
prior to the CLEC taking possession. Please sign and return this report when
items listed below have been corrected. Note any exceptions along with any
authorized waiver from the responsible engineer. Assessed defects will hold up
CLEC installation start, until all defects have been addressed.
Central Office:
City:
State:
Job Number:
CLEC:
Requested Service Date:
This facility is in conformance with Qwest standards, and has been
approved for turn over to the CLEC. It is now permissible that the CLEC
start Installation. Upon completion of equipment installation in the
physical collocated area, the CLEC or contracted agents shall send a
completion notice RG47-0002 to the Work Management Center (WMC.)
All work done in the CLEC area shall conform to standards configurations,
Federal and local requirements and standards outlined in Qwest
Technical Publications. See TP 77350.
This facility is not in compliance with Qwest standards, and is not
approved for CLEC occupation. Defects need to be resolved before
area can be turned over to the appropriate CLEC.
Non-Conformance Items: See Attachment(s).
All defects for this job have been corrected, or a letter of deviation from the Qwest
Design Engineer has been attached.
State Interconnection Manager:
Please return this form or response to:
QWEST
Name:
Address:
City, State, Zip:
Fax:
E-mail:

## RG47-0157
TEST RECORD (COE)
DATE
BVAPP | JOB ID |  | CLLI |  | OFFICE NAME |  | City & State
0 | 0 |  | 0 |  | 0 |  | 0
TEST EQUIPMENT USED |  | TYPE CIRCUIT
|  | DS-0 | DS-1 | DS-3 | Alarms | Power | Timing | Fiber
FROM (ex: MDF, RR & Shelf) |  | TO (ex: MDF, RR & Shelf) |  |  |  | LEAD ID / DEFECT TYPE/ CORRECTED (Y/N)
INSTALLATION SUPPLIER - |  | INSTALLERS NAME (PRINT) - |  |  |  | CONTACT NUMBER
0

## RG47-0158 pg 1
Job Start & Completion Checklist
Central Office Name |  |  |  | Central Office CLLI |  | Job # |  | BVAPP# |  | Date
0 |  |  |  | 0 |  | 0 |  | 0
Design Engineer |  |  |  | Installation Company |  |  |  | Installation Representative (Print Name)
0 |  |  |  | 0
QWEST Representative (Approver) |  |  |  | QWEST Representative Contact # |  |  |  | Installation Representative Contact #
Start:
Complete:
Job Description:
Job Type: | Collocation |  | Megabit | IOF | Switch |  | Power | Radio | Other
Summary of Installed Equipment:
JOB START: Y =Condition met | [10 empty] | Mark Y, N, or NA
(All references in TP 77350 Issue M) N =Condition not met
NA =Not Applicable
Job Start Date met? Scheduled: | [5 empty] | Actual:
Have you reviewed the Qwest Supplier Expectations: Access & Security Chapter 2.2, Safety Chapter 2.4, Combustibles Chapter 2.6? TP 77350 on site and available? Method of Procedure (MOP) authorized, complete and posted? Copy sent to the Work Management Center?
Is ‘Service Interruption Reporting’ and ‘Question Your Work Checklist’ (RG 47-0163) on site, reviewed and posted with the MOP?
Is the latest issue of the Design Work Package (including drawings), on site and feasible as engineered?
Are cable racks sufficient and correct type: Cable routes, including entrances to job associated equipment frames, available and unimpeded?
Did you review all assignments listed in the Narrative and Connection sections of the DWP and inform the Design Engineer that either the assignments are correct as stated or assist the Design Engineer in resolving all assignment conflicts?
Are the assignments and capacity sufficient for: AC and DC Power systems, Grounding, Signal, Synchronization, DSO, DS1, DS3, fiber and alarm terminations?
Are the Billing of Material (BOM) shortages identified, ordered, and delivery dates acceptable for job completion schedule?
Is the ordered material the correct quantity and type: cables, fuses, bay mounted units, end guards, bases, and bay extensions?
Are the equipment lighting and AC outlets correctly engineered and provisioned as required?
Are the Real Estate Items Complete: Collocation cages, cable holes, and other associated building changes?
Did you escalate material & Engineering issues to the WMC or Quality Auditor for the area?
Have you obtained a PNAR#?
No and Not Applicable Notes: (use JIM to identify additional work effort)

## RG47-1058, pg 2
Job Start & Completion Checklist
JOB COMPLETE: (All References in TP 77350 Issue M)
BVAPP# |  | 0
STRUCTURE
Are the Frame/Bay/Cabinet top supports attached and secure?: Chapter 3.12.2./ 3.12.3
Is the Frame/Bay/Cabinet ground (No. 6 AWG green): Chapter 11.3.1
Is the Ironwork / Cable Rack complete and secure?: Chapter 3.4 – 3.6
Are the Floor/Wall penetrations fire stopped? Fire block Label (RG47-0133) Chapter 4
Is the Illumination adequate: Chapter 2.4.7 / Table 2-2
Are the AC conduits and outlets located per specification: (Typically front & rear of every 3rd bay)
Are the combustibles and excess material cleaned up? Chapter 2.3 & 13.9
Have you reviewed, reconciled and communicated all assignments to the Qwest Design Engineer?
TERMINATIONS / DESIGNATIONS | [5 empty] | DESIGNATIONS | Terminated
[7 empty] | Equipment End |  |  | Far End
Bay / Baseplate Label
BDFB / PBD / FUSE PANEL
DS0 MDF Vertical / Horizontal
DSX-1 (wired and tested?)
DSX-3 (wired and tested?)
LED's powered and working?
Is the fiber cabled terminated and designated properly?
Is the synchronization (timing) cabled, terminated and designated properly?
Are the alarms cabled, terminated and designated properly?
Job Package (All references in TP 77350 Issue L, Chapter 13.4)
MOP General / MOP Detail : (Detailed MOP required for and work done in a powered frame)
Design Work Package (DWP) |  |  |  | Release # |  |  |  | Date:
Test Records? (RG47-0157)
Alarm Records: NMA Confirmation Number Included?
Job Log?
Drawings updated, changes marked in accordance with standard: Chapter 8.17.Drawings sent to engineer.
Job Completion Notice, Signed and exceptions noted? Chapter 13.4
Service Degradation Report or JIM’s (Chapter 13.7 / 13.8)
Job status (Start, Progress, and Complete) updated in Installation Order Tracking (IOT) weekly including jeopardy codes?
Job Comments:
UPDATED DRAWINGS SENT TO ENGINEER YES or NO If Yes Date Sent:
PNAR # |  |  |  |  | CLOSED: YES or NO
Items Turned Over to Local Co Operations/Co Manager (Fuses, Test Equipment, Cards, Manuals, etc.)
Qty | Description | [7 empty] | Received by: (Signature & Title)
Please ensure you fill out RG 33-0043 (Document & Materiasl Disposition) and obtain appropriate signatures
Total job has been verified and accepted as complete. |  |  |  | Approver's Name and Signature: | [5 empty] | Date Approved:
When complete, file in "Job package" (RG-51-0083), and ensure Completion Notice RG47-0002 is completed and signed.
Note on Q8: lxcunn3: Fill in all blocks with an Y, N or NA

## RG47-0160-Pwr
CLEC POWER ASSIGNMENTS
OFFICE |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
Clec Company & Contact: |  | 0 |  | Decommission
Clec Location ID: |  | 0
CLEC COMPANIES LOAD A
FROM-Qwest
BDFB/PBD Location | Shelf | Fuse/Brkr Position | Fuse/Brkr Amps | Cable Length (top to top) | Quantity of Runs | Cable Size
CLEC COMPANIES LOAD B
FROM-Qwest
BDFB/PBD Location | Buss/Load | Fuse/Brkr Position | Fuse/Brkr Amps | Cable Length (top to top) | Quantity of runs | Cable Size
Contacts: Company and/or Name (24 Hour) | [6 empty] | Telephone #
Installation Supplier: |  | 0 |  |  |  |  | 0
Qwest Operations:
Fuses turned over to:

## RG47-0160-Sync
CLEC SYNC ASSIGNMENTS
OFFICE | 0
BVAPP #: | 0 | BAN # | 0
Clec Company & Contact: | 0 | Decommission
Clec Location ID: | 0
CLEC COMPANIES PRIMARY
FROM-Qwest
Relay Rack Location | Shelf | Slot Position | Port
CLEC COMPANIES SECONDARY
FROM-Qwest
Relay Rack Location | Shelf | Slot Position | Port
Contacts: Company and/or Name (24 Hour) |  |  | Telephone #
Installation Supplier: | 0 |  | 0
Qwest Operations:
For Sync Leads: Termination/Unplugged:

## RG47-0160-DS0
DSO Circuits
Office |  | 0
BVAPP #: |  | 0 |  |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  |  | Decommission
CLEC Location ID: |  | 0
Cable Designation |  | DSO Vertical Location MDF/ICDF |  | Pair Count | Comments/Cable Slack (for decom only | Cable Mined? Y/N (for decomm only)
DSO LINE SHARING ONLY (Data Only)
Cable Designation | DSO Vertical Location MDF/ICDF |  | Pair Count | Splitter Location (RR/Shelf or MDF/Block Location | Comments/Cable Slack (for decom only | Cable Mined? Y/N (for decomm only)

## RG47-0160-DS1
DS1 Circuits
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | RR | Shelf/Panel | Jacks | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only
CLEC Relay Rack Location:

## RG47-0160-DS3
DS3 Circuits
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | RR | Panel | Jacks | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only
CLEC Relay Rack Location:

## RG47-0160-Fiber
Cables from Qwest Fiber Bay to CLEC equipment
Office |  | 0
BVAPP #: |  | 0 |  | BAN # | 0
CLEC Company & Contact: |  | 0 |  | Decommission
CLEC Location ID: |  | 0
Cable Designation | Circuits Cable Count | FDF RR | Shelf | Ports | Cable Slack Length (for decom only) | Cable Mined? Y/N (for decom only
CLEC Relay Rack Location:

## RG47-0161
BVAPP # | TECHS: ________/_________/__________/__________
0
ENGINEER: | CLLI CODE: |  | RC CODE:
0 | 0 |  | 0
ITEM TO CHECK | CHECKED (Initials) | CORRECT? (NA, Y, N) | REMARKS
BAY - CHAPTER 3
1. Top support - 2 supports?
2. Cable tied to bay correctly?
3. All cable ties flush cut?
4. Bay label correct (RG47-0131)
5. RR designation per standards and configuration?
6. Anchors torqued & Indicators in place or note in job log?
7. Molding / Dust shield attached?
8. End shield guards (If applicable)?
9. End of aisle labeled (both ends)?
10. AC outlets per standard ?
11. AC outlets labeled with fuse box and fuse position?
12. Lighting in place ?
13. Other
EQUIPMENT - CHAPTER 3
1. Location / Alignment (per Floor Plan, aisle spacing F&R, guards req'd?)
2. Cable lacing secure?
3. Bolts, nuts, screws tightened?
4. Correct amount of supports?
5. Power connections
6. Grounding (Aisle, Bay and Chassis Ground attachments or H-Taps?)
7. Shelf labeling per standard and configuration?
8. Shelf / Equipment Label (RG47-0130)
9. Other
IRON - CHAPTER 3
1. Stanchion / Support per standards and configuration?
2. Cut flush and filed Smooth
- cut ends painted?
3. Bolts secured?
4. Lock washers in EQ Heavy areas?
5. Alignment correct?
6. Finish Clip / Cap in place?
7. Splices / Clamps correct?
8. Cable rack labeled ?
9. Other
DESIGNATIONS / LABELING - CHAPTER 8
1. Both ends of aisle labeled?
2. RR / Shelf labeled (front & rear)?
3. Bay upright label used and filled out?
4. Fuse book recorded?
5. Dantel Alarm record correctly filled out?
6. MDF and Blocks labeled?
7. Cables tagged?
8. Cosmic frame labeled?
9. Cable rack (power & fiber) labeled?
10. Cable hole covers & closures labeled?
11. Power/Ground fiber tags labeled?
12. BDFB/PBD (fuse position) info on fiber tags at return bar?
13. Other
CABLING - CHAPTER 5
1. Routing / segregation correct per DWP an standards?
2. Protection per standard?
3. Supported and Secured correctly?
4. Bending radius correct?
5. Tied at rack break off, waterfalls, bay channel?
6. Manufacture tags and running tags removed?
7. Other
WIRING - CHAPTER 7
- DSO -
1. Type & gauge correct?
2. Location correct?
3. Routing correct?
4. Protection of wire?
5. Spliced per standard?
6. Connections
- wire wraps correct?
7. Securing : -
- nylon cable ties flush?
- cable lacing secure & correct?
8. Blocks labeled correct?
9. Frame labeled correct?
10. Shields/Drain leads correct?
11. Tested?
12. Other
- DS1 -
1. Type & Gauge correct?
2. Location correct?
3. Routing correct?
4. Protection of Wire?
5. Spliced per Standard?
6. Connections :wire wraps correct?
7. Securing
- nylon cable ties flush?
- cable lacing secure & correct?
8. Panel labeled correct?
9. Tested?
10. Other
- DS3 -
1. Type & gauge correct?
2. Location correct?
3. Routing / Segregation correct?
4. Cable lacing secure & correct?
5. Protection of wire?
6. Labeled correct?
7. BNC / LCC ends installed per standard?
8. Plugged into correct jack?
9. Tested?
10. Other
- FIBER - CHAPTER 5
1. Location correct?
2. Routing correct?
3. Protection of fiber?
4. 12 strands or less in trough? (OFNR/P cable)
- 12 strands or more on fiber rack? (OFNR/P cable only)
5. Fiber in correct position?
6. Labeled correct?
7. Tested?
8. Other
- POWER CABLE - CHAPTER 5,9
1. Type & gauge correct?
2. Location correct?
3. Routing correct?
4. Protection of wire?
5. Bending radius correct?
6. Supported & secured correctly?
7. Power/Ground fiber tags attached and labeled?
8. H-taps taped, cover applied and cover tied with twine?
9. Grounding leads tagged? Green cables used ?
10. Power Cables banded together in paned rack?
11. Polarity verified?
12. Other
BDFB or POWERBOARD - CHAPTER 9
1. Fuse location correct?
2. Fuse size correct?
3. No-ox applied on connections & fuses?
4. H-taps covered and taped?
5. Power/Ground fiber tags attached and labeled ?
6. Verify stud stiffeners (if required) ?
7. Labels on positions correct?
8. Completed in maintenance window?
9. Other
MISC. FUSE PANEL - CHAPTER 9
1. Alarm Fuse Indicator Pin?
2. Connections?
3. Fuse panel labeled -48V?
4. Fuse Book has shelf, amp and RR?
5. Shelf label RG 47-0130?
6. Other
TIMING - CHAPTER 2
1. Correct location on equipment?
2. Completed in maintenance window?
3. Labeled correctly?
4. Other
ALARMS
1. Correct location?
2. Cable labeled ?
3. Alarm record book completed?
4. Tested with NMA?
5. Other
CABLEHOLES / FIRESTOPPING - CHAPTER 4
1. Closure sealed properly?
2. Tagged and signed properly?
3. Location designated top/bottom?
4. Other
MISC. ENVIRONMENT - CHAPTER 2
1. Trash removal completed?
2. Bill of lading filled out?
3. Hazardous material disposal arranged?
4. Cable reels tagged?
5. Verify Card Reader?
6. Work area protection?
7. MOP's/Job papers removed from equipment and walls?
8. Other
DOCUMENTATION - CHAPTER 13
1. Records/Drawings, installer marked shall be noted
* copy at site?
* copy sent to engineer?
- RED -
All equipment additions
All relocations
All assignment changes
Record title box changes & quantities
- YELLOW -
All equipment being removed from Qwest facility.
If frame numbers, quantities, assignments, change, highlight old numbers
- GREEN -
All "record only" changes
New information regarding existing COE configurations
2. Engineer notified of any & all changes?
* Put note in job log that engineer was notified of changes and date recorded. *
3. MOP's (With start and finish time/date and all relay racks touched).
4. JIM's
5. Test Record RG47-0157
6. All other test records (Power, DS0, DS1,DS3 & Fiber)
7. Document & Material Disposition Form RG33-0043
8. Job log RG41-0046
9. Job Start & Completion Checklist RG47-0158
10. ICN RG47-0002
11. Quality Checklist RG47-0161
12. Most recent release of DWP
13. NMA # on ICN , Job Log, and Installation assignment and Capacity sheet RG41-0170
14. PNAR # on ICN?
15. Other
COLLOCATION ONLY - CHAPTER 16
1. CLEC Area
- floor taped (if cageless)?
- cage built?
- cage grounded?
- bays labeled?
2. CLEC Provisioning Forms
3. Material Disposition Forms?
4. Cable slack to required lengths?
5. CLEC CLLI code ,floor number,cable name and cable count tagged on cables and labeled on equip.?
6. Cable secured to rack or fence?
7. Lockout tagout on power source?
8. IFB Feed Terminal/NID exist?
9. Fiber jumpers placed for shared fiber entrance?
10. Bay Mounted Line Sharing Splitter Cards SEATED?
11. Jumpers pulled by COT on ICDF frame?
12. Other
Collocation-Outward Augment (Decommission, Power Reduction, all other removal work)
1. Cables secured, coiled, or tied to rack if reusable?
2. Cables labeled with 2 "Collocation Spare (For Reuse) tags" 1 for each end if reusable? Estimated slack cable footages on tag?
3. All blocks stenciled & labeled if reusable?
4. Power cabling removed from source, tagged and coiled and secured near source for future reuse?
5. Power fuses removed and circuits breakers deactivated and stenciled as spare?
6. Identifying tags attached to colo area or cage (CLEC provisioning forms)?
7. Yellow or white tape with black lettering used when no place for tags?
8. Is CLEC equipment removed from CLEC site? (Physical)
9. Is CLEC site condition restored (i.e. floors, holes, A/C, stantions, etc.)?
10. Has Virtual Equipment been removed and delivered to SICM?
11. Have fiber jumpers been removed?
12. Has fuse position been tagged if reserved?
13. Cable measurements sent to engineer?
14. CLEC Name removed from all labeling?
15. CLEC Sheets complete (one copy in job pkg., one copy in folder hung on cables)?
16. Other
THIS SECTION TO BE FILLED OUT BY STATE INTERCONNECT MANAGER (SICM) ONLY
CLEC FINAL HANDOFF
1. Verify final payment
2. Schedule handoff (SICM, ATR, RE, COM & CLEC)
3. Review access policies
4. Verify card reader
5. Designate CLEC access location
6. Reinforce cell phone policy
7. Reinforce 77350 Standards
- MOP requirement
- identify staging area/masonite policy
- grounding requirements
8. Provide keys/obtain receipt
9. Provide COM phone & pager
10. Provide emergency and maintenance phone numbers
11. Provide tech pub URL location
12. Provide CLEC Provisioning Forms
- provide all detailed data necessary
- label cable ends
13. Express fiber withdrawn from CO? Shared fiber unspliced in POI?
14. Obtain CLEC acceptance/completion form
15. Provide contact information for installation of AC outlets for Cageless Collocation
16. Virtual Decommission - CLEC owned equipment returned to CLEC?
17. Other

## RG47-0163
SERVICE INTERRUPTION REPORTING
This document is to be posted next to the MOP.
If there is not a COO manager or Qwest representative on site (after MOP has been approved), then
call the following 800 numbers identified in the procedures below prior to start of job. When you call,
please provide your company’s name and the type of work you will be doing. If there is a Qwest
representative on site, notify them to make the appropriate contacts if there is a service-interrupting
event. Review the "Question Your Work Checklist" prior to beginning any work (Page 2).
SWITCH OR POWER EQUIPMENT
Before beginning work on switch/power equipment and if you suspect you've caused a service
interruption in any fo the 14 states please call: 800-341-8188, option 1.
TRANSPORT/FRAMES/SYNCHRONIZATION EQUIPMENT
Before beginning work on transport/frames/sync equipment and if you suspect you've caused a .
service interruption for any of the 14 states please call: 800-258-8144.
BE PREPARED TO ANSWER THE FOLLOWING QUESTIONS:
What company do you represent?
Are you a subcontractor or employee?
What is out of service?
Why?
Can you restore it?
What is the ETR (estimated time of restoral?
What is the name of the CO Supervisor that approved the MOP?
Have you notified the Qwest Central Office Supervisor?
*If in doubt about causing a service interruption, call it in!
Page 1 of 2
Question Your Work Checklist:
Before beginning any work, ask yourself each of these questions...
1. Do you have clear and complete job instructions?
2. Do you have the training, qualifications and resources required for this work?
3. Are the supporting documents for this work complete, error free and logical?
4. Has everyone who needs to know about the impact of this work been notified?
5. Is the right time of day chosen for this activity?
6. Is a backup or restoral plan in place?
7. Have you minimized all risks associated with the task?
8. Do you understand what constitutes successful completion of the job?
Upon completion of the job...
1. Have you tested to ensure customer circuits are active and working correctly?
2. Has the appropriate paperwork been completed and submitted?
Page 2 of 2

## RG47-0165
|  | Fax order to: 303-707-9673 |  |  |  | Date
Phone: 303-707-5019
City | State | Work Type | BVAPP | Issue # | Job ID | ACCT Codes
0 |  |  | 0 |  | 0
Address ID | CLLI code | Engineer's Name | Engineering RC Code | Engineering Company |  | Install Comp Date
| 0 | 0 | 0
Installation Manager |  | Ordered By | Installer Pager | Installer Phone | Install Company | RFS Date
0 |  |  |  |  | 0
Shipping Instructions:
Please list address of Pack & Hold Delivery location desired. (Mandatory)
Special Shipping or Material Staging Instructions (shipping to CO site must be approved by Installation Supervisor or WMC Manager):
Standard shipping method is ground, all other must be approved by departmental Director.
QTY. | PART NUMBER | MANUFACTURER | CATALOG DESCRIPTION |  |  | CONSUMABLE MATERIAL ITEM Y/N
(Mandatory) | (Mandatory) | (Optional) | (Mandatory) |  |  | (Mandatory)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34

## RG47-0166
JOB SITE MATERIAL INVENTORY FOR MISSING ITEMS
DATE:
BVAPP# | 0
JOB # | 0
OFFICE/CLLI: | 0
INSTALLATION VENDOR: |  | 0
CONTACT NAME:
CONTACT NUMBER:
Bill of Material Item # | Part # | Description | Quantity
Comments:

## RG47-0168
Application for Letter of Deviation
(Completed by the Installation Service Supplier)
. | Issued in rare cases when all othr viable engineering options have been explored and eliminated
. | Used for one-time, site-specific conditions and is documented accordingly.
. | Not valid soley for wholesale or economic concerns.
. | Not used to remedy quality workmanship defects
. | Not to be used to continue non-standard practices that may have bee applied in the past, or
where new standards have superceded the old (i.e., earthquake bracing upgrades due to
seismic zone changes).
. | A Letter of Deviation should be approved prior to the Installation start date, but must be
approved prior to the Installation complete date.
. | All affected Central Office drawing layers must be marked accordingly.
Installation Service Provider:
Provide a detailed description of the rationale for applying for a letter of Deviation
(include: all applicable reference drawings / sketches, safety, environmental, technical,
and service concerns. Identify the exact Qwest AMC, technical documentation or
Technical Publication chapter, and paragraph / section the deviation applies to:
Date of Application:
State: |  | Central Office: | Job Number/BVAPP:
Location within Central Office:
Deviation submitted to Design Engineering Representative:
Name of Application Originator:

## RG47-0169
Letter of Deviation
(Completed by the Design Engineering Representative)
. | A letter detailing the condition and method used to provide a safe, reliable, and well-
engineered alternative where a Qwest standard arrangement cannot be utilized.
. | Issued in rare cases when all other vialbel engineering options have been explored
and eliminated.
. | Not valid soley for wholesale or economic concerns.
. | Not used to remedy quality workmanship defects
. | Not to be used to continue non-standard practices that may have bee applied in the past, or
where new standards have superceded the old (i.e., earthquake bracing upgrades due to
seismic zone changes).
. | A Letter of Deviation should be approved prior to the Installation start date, but must be
approved prior to the Installation complete date.
. | All affected Central Office drawing layers must be marked accordingly.
Date Letter of Deviation Submitted for Approval:
State: |  | Central Office: | Job Number/BVAPP:
Location within Central Office:
Deviation granted to: (Company, Name, Department Title:
Name of Application Originator:
Brief Description of the job activity. Describe scope of the work and description of equipment to be
installed, removed, or relocated:
Identify the exact Qwest AMC, technical documentation of Technical Publication chapter,
and paragraph/section the deviation applies to.
Detailed description of the engineered solution and exact location within the Central Office. Identify
potential risks associated with the deviation (safety, environmental, technical, service concerns):
Letter of Deviation
(Completed by the Design Engineering Representative)
Detailed description (continued):
Requestor: |  |  |  | Date:
Title/Company:
Qwest Design Engineer: |  |  |  | Date:
Orginating Department:
Verified by AMC Author: |  |  |  | Date:
May require multiple Director approvals.
Approved by : |  |  |  | Date:
AMC Director:
Approved by : |  |  |  | Date:
Director - (Affected business units, i.e., Power, Switch, IOF)
Approved by : |  |  |  | Date:
Director - (Affected business units, i.e., Power, Switch, IOF)
Note: Once a deviation is approved, a copy of the sigtned letter will be sent to the Installation Lead to be
included in the site job packet. The Qwest Design Engineer will file the original "Letter of Deviation: in
their engineering job folder.

## RG51-0083
White Envelope to keep job pack contents in at Central Office
Ordered from Rainbow Technologies 800-637-6047

## REGN form
REGN 154-004-001RG
Issue 2, Sept 2001
Exhibit 1
Environmental Equipment Notification - Batteries
This form is to be completed for each battery string installation, removal, and replacement project. To ensure appropriate
permitting, agency notification, and EHS review, this form should be faxed to EHS at 303-672-2929 or may be e-mailed to
OEHS@qwest.com with 30 days of the estimated project date. Questions regarding this form can be directed to the EHS
Department at (303) 672-2938
SECTION A - Project Information
Facility
Name:
|  |  | CLLI |  |  | Wireless Site
GEO Code: |  |  | Code: |  |  | ID:
Street:
City: |  |  | State: |  |  | Zip:
Project
Contact: |  |  |  | E-mail:
Phone |  |  |  | Fax
Number: |  |  |  | Number:
SECTION B - New Batteries
The following information should be noted for each set of batteries to be installed. If more than two tuypes of batteries are to be
installed, submit additional forms as necessary.
Battery Install 1
| Est. Install Date: |  | Battery Type: |  | VRLA: |  | Flooded:
| Manufacturer |  | Model:
| No. Strings: |  | Jars per string:
Location in Buildings:
Battery Install 2
| Est. Install Date: |  | Battery Type: |  | VRLA: |  | Flooded:
| Manufacturer |  | Model:
| No. Strings: |  | Jars per string:
Location in Buildings:
SECTION C - Removed Batteries
The following information shuld be noted for each set of batteries to be removed. If more than two types of batteries are to be
installed, submit additional forms as necessary.
Battery Install 1
| Est. Install Date: |  | Battery Type: |  | VRLA: |  | Flooded:
| Manufacturer |  | Model:
| No. Strings: |  | Jars per string:
Location in Buildings:
Battery Install 2
| Est. Install Date: |  | Battery Type: |  | VRLA: |  | Flooded:
| Manufacturer |  | Model:
| No. Strings: |  | Jars per string:
Location in Buildings:
TABLE A
Region |  | States |  |  |  | Manager
Northwest |  | ID, OR, WA |  |  |  | May Vichitkulwongsa
Pacific |  | CA, NV |  |  |  | Lori Harrington
Rocky Mountain |  | CO, MT, UT, WY |  |  |  | Barb Dowski
Midwest |  | IA, IL, IN, MI, MN, ND, NE, OH, SD, WI |  |  |  | Gerard Breen
South |  | AX, AL, AR, KS, KY, LA, MO, MS, NM, OK, TN, TX |  |  |  | John Ferguson
Atlantic |  | CT, DC, DE, FL, GA, MA, MD, ME, NC, NH, NJ, NY, PA, RI, SC, VA, VT, WV |  |  |  | Harlan Pincus
Name |  | Title | Phone Numbers |  | Address |  | E-mail
Brian Jacobson |  | Director, Environmental Affairs | 303-672-2938 Office |  | 1801 California Street |  | btjacob@qwest.com
|  |  | 303-672-2929 Fax |  | Suite 1160
|  |  | 303-257-8472 Mobile |  | Denver, CO 80202
303-769-4995 Pager
Gerard Breen |  | Regional Environmental Manager | 612-798-2424 Office |  | 301 W. 65 St. |  | gbreen@qwest.com
|  | Midwest Region | 612-798-2451 Fax |  | Room 1
|  | IA, IL, IN, MI, MN, ND, NE, OH, | 612-275-8352 Mobile |  | Richfield, MN 55423
|  | SD, WI | 877-548-1026 Pager
Barb Dowski |  | Regional Environmental Manager | 303-441-6159 Office |  | 1855 S. Flatiron Ct. |  | bdowski@qwest.com
|  | Rocky Mountain Region | 303-441-6064 Fax |  | Boulder, CO. 80301
|  | CO, MT, UT, WY | 303-257-8512 Mobile
877-703-9697 Pager
John Ferguson |  | Regional Environmental Manager | 602-235-1484 Office |  | 3033 N 3 St. |  | jcfergu@qwest.com
|  | South Region | 602-235-3311 Fax |  | Room 216
|  | AL, AR, AZ, KS, KY, LA, MO, | 602-576-3668 Mobile |  | Phoenix, AZ 85012-3090
|  | MS, NM, OK, TN, TX | TBA
Lori Harrington |  | Environmental Coordinator | 530-897-6269 Office |  | 2547 Durham-Dayton Hwy. |  | lori.harrington@qwest.com
|  | Pacific Region | 530-898-1922 Fax |  | Durham, CA 95938
|  | CA, NV | 916-712-8635 Mobile
Nancy Kahl |  | Environmental Project Manager | 303-672-2927 Office |  | 1801 California Street |  | nkahl@qwest.com
|  |  | 303-672-2929 Fax |  | Suite 1160
|  |  | 303-257-9765 Mobile |  | Denver, CO 80202
877-457-6640 Pager
Harlan Pincus |  | Regional Environmental Manager | 914-686-7952 Office |  | 55 Church Street |  | hpincus@qwest.com
|  | Atlantic Region | 914-686-7963 Fax |  | First Floor
|  | CT, DC, DE, FL, GA, MA, MD, | 914-420-2528 Mobile |  | White Plains, NY 10601
|  | ME, ND, NH, NJ, NY, PS, TI, DV | 877-867-9710 Pager
VA, VT, WV
Jeff Ross |  | Environmental Project Manager | 303-672-2937 Office |  | 1801 California Street |  | jdross2@qwest.com
|  |  | 303-672-2929 Fax |  | Suite 1160
|  |  | 303-995-2658 Mobile |  | Denver, CO 80202
877-815-0558 Pager
May Vichitkulwongsa |  | Regional Environmental Manager | 206-346-7532 Office |  | 1600 7th Ave. |  | pvichit@qwest.com
|  | Northwest Region | 206-345-8705 Fax |  | Room 2708
|  | ID, OR, WA | 206-271-7532 Mobile |  | Seattle, WA 98191
877-871-1680 Pager