[image: image1.png]


 

[image: image15.png]Qwest.‘Q





[image: image2] PCS/Wireless

Cell Site Deployment

 Customer Guide
November 2007
www.qwest.com/wholesale  or

http://www.qwest.com/wholesale/industrysolution/wireless.html

[image: image9.wmf]
Table of Contents

Section











Pages
Table of Contents










2

Introduction











3
Cell Site Specifications, Requirements and Definitions



4-6
Qwest Cell Site Build Process








7-12
Qwest TOAST Cell Site Build Process






13-16
Qwest High Voltage Cell Site Build Process





17-32
Qwest Pre-Build Cell Site Process







33-36
Forms












37-38
[image: image10.png]™~

Property Line

Customer
Cell
Tower
Customer responsibility
to provide the cable, efc.
T
I NIU, POP

F1

Wireless Rawland
Telco on a Stick

NOTE:

1-Order is complete when service is provide to NIU.

2-Customer can request testing to cell tower via
maintenance (fest assist) ticket.

3-Customer can issue ASR to move NIU.

Qwest
Central Office





Introduction

As part of Qwest’s continuing commitment to improve service to our Wholesale Wireless customers, Qwest has redesigned the process for provisioning service to raw land cell sites except for High Voltage and Pre-Builds.  Qwest will no longer have a standard interval for new raw land cell site builds, we will now partner with the Wireless Service Providers to determine the best due date that both companies can meet.

[image: image11.png]Customer
Cell
Tower

POP, NIU

Customer Conduit

[¥—_ Property Line

Wireless Rawland
Cellsite

Order iss complete to NIU after customer places
conduit between property line and cell tower.

Qwest
Central Office

F1






[image: image3]
Qwest Wholesale Markets offers reliable network transport services to Wireless Service Providers (WSPs).  Complete descriptions of these services and products are provided to our WSP customers on the Qwest Wholesale website at: http://www.qwest.com/wholesale/industrysolution/wireless.html.

Cell Site Specifications, Requirements

And Definitions

Cell Site Specifications, Requirements and Definitions

· Conduit
All conduit/innerduct used must meet Qwest standards, National Electric Code Standards, and all city & safety codes. 

The Customer/Property Owner is responsible for all locates of power, sprinkling systems, etc. buried on their property.

All conduit must have a radius sweep of approximately a 10 to 1 ratio and contain no more than two 90o turns.

· Inside conduit to MPOP
The Customer/Property Owner will provide necessary supporting structure for the fiber from the point of entrance into the area determined for the placement of the distribution panel in the telephone termination room.

· Entrance Facilities
The Customer/Property Owner will supply the access into the demarc within 20 feet of the electrical service entry point. 

The Customer/Property Owner is to provide conduit to be placed through the outside building wall and to the point 24 inches below ground level for copper and drop cable.  Fiber must be buried a minimum of 36 inches below ground level.

· DS1 Service/Drop Wire
The use of drop wire for DS1 applications is dependent on several factors.  First is the type and length of drop wire.  Flat wire “F” type, single pair aerial drop wire should never be used due to its electrical characteristics.  Multi-pair aerial drop wire is also strongly discouraged for DS1 service applications.   If the Customer/Property Owner service requirement exceeds 12 pair then the appropriate facility should be constructed as determined by the field engineer.

The network interface is the RJ48C jack at either the DS1 connector (for copper T1 or the RJ48C jack at the HDSL remote unit, not the jack at the station protector.  Both of these devices require installation in a 400 type mounting that is designed for indoor applications.  Cabling from the protector to the DS1 connector for copper T1 applications requires separate and shielded station wire.  Separate station wire from the protector to the HDSL remote unit is not required.  However, conventional DS1 design rules apply beyond the HDSL remote unit.
· Cabling Beyond Demarcation
The Customer/Property Owner is responsible for the cable or fiber from the Qwest cabinet to their equipment interface, along with the necessary connection blocks at both ends of their cable/fiber.  Cell site cabling beyond the demarc is available on a time and materials basis from Qwest or Customer/Property Owner or Property Owner may hire a vendor of their choice.  The NIU must remain at the demarc.
Cell Site Specifications, Requirements and Definitions continued
· Environment/Space
The Customer/Property Owner is to provide a suitable environment for equipment.  (Refer to Technical Publication 77368).

The location of the MUX cabinet is to be in a room that is environmentally safe for the proper operation of electronic equipment (temperature, humidity, etc.).


BTU heat release is 3.4 watts = 1 BTU maximum.


Nominal temperature ranges 60 to 80 degrees Fahrenheit.

Provide space as determined by the Field Engineer.  The cabinet should be placed in a location that would allow the doors to be opened on both sides.
It is preferred to always place equipment cabinets at a Customer/Property Owner premise, however, if space is limited and determined on the site visit to place the equipment in a relay rack.  Qwest will provide this relay rack. A 9-foot bay is required for raised floorings for proper anchoring of this bay into the cement flooring below.
· Access
Customer/Property Owner must provide access 24 hours a day, 7 days a week and a 24-hour emergency contact for use by Qwest.

· AC Power
The Customer/Property Owner will supply two separate dedicated 110/120 volt 20 amp AC electrical circuits as defined by the Field Engineer for test equipment purposes.

Raised computer room floors – Customer/Property Owner must provide a cut out in the floor tile for the MUX power cords.

Normal Flooring – Wall receptacle close to the floor.

** 
If MUX is to be placed any distance from the wall, causing a safety hazard or possible loss of power from someone tripping over the cord, it is recommended the electrical circuit be provided overhead.

· Grounding
Provide ground bar and necessary grounding requirements.
Note:
Ground bar must contain a #6 ground from AC cabinet compatible

· Plywood Backboard
The Customer/Property Owner is responsible to provide an adequate space on the wall in the room where the equipment cabinet is located.  Qwest Field Engineer will determine the actual space required.

Qwest Cell Site Build Process

Qwest Cell Site Build Process

The following are the critical steps that must be followed by QWEST and the Wireless customer:
· Customer requests the Pre-Service Request (PSR) from their Qwest Service Manager/Project Manager or it is available at: http://www.qwest.com/wholesale/pcat/wireless/forms/csrawlandparallelbuild.html
· Customer reviews, signs and emails PSR to Project/Service Manager.

· When Project/Service Manager receives the signed PSR they will contact the Qwest Field Engineer.

· A Qwest Field Engineer (FE) will contact the customer to schedule the site visit.

· At the time of the site visit (or earlier if available), the customer will provide the following documents to the field engineer before Qwest will proceed with determining the due date:

· Site Plan

· Structural Specifications Form

· At the time of the site visit, the customer and Qwest will discuss the following:

· Easement issues
· Permits Required.  Dates they were applied for and/or date will be applied for.  (Timeframes expected to get permits)

· Zoning Issues

· Conduit

· Grounding

· Qwest space requirements as determined by field engineer:

· Customer/Property Owner provided environmental cabinet or Qwest provided environmental cabinet 
· Permanent location for NIU placement (if the location of the NIU changes additional charges and testing may apply)
· Wiring beyond demarcation/NIU is available on a time and materials basis (NIU must remain at demarc).
· Due Date Wireless Service Provider/Qwest will be Ready

· The Engineer will determine if CIAC (Contribution In Aid of Construction) charges will apply based on the number and type of circuits shown on the PSR.   If after the ASR is issued, it has a different amount or type, the CIAC charges may change. 

[image: image12.wmf]
Qwest Cell Site Build Process continued

Qwest Cell Site Build Process continued

· After the initial Cell Site visit and all the requirements have been fulfilled, the Qwest Project/Service Manager will have a cell site kickoff call to determine:

1)  The Telco Ready for Service Date (RFS) that was negotiated on the field visit will be formally agreed upon.
2)  The due date and project ID that will be put on the ASR when it is submitted.
· The Wireless Service Provider will submit the ASR with the agreed upon due date within 48 hours or the due date will have to be re-negotiated and a SUPP maybe required.
[image: image13.emf]HyperEdge OSPWeatherproofEnclosures

forTelcoOnAStick(TOAST)

4DS1Circuits

WME-950-04L2

PID#2486167

HECI:NCM2NRH

8DS1Circuits

WME-950-08L2

PID#2486175

HECI:NCM2NUF

2DS1Circuits

NIOE-02

PID#2486159

HECI:NCM2LPD


· The Qwest Service Delivery Coordinator (SDC) will issue the order with the agreed upon due date.  If it has any due date other than agreed upon it will be rejected. When the order is submitted, the customer must indicate this is “raw land”.  The order must also contain a legal address, contact name and phone number, and any unique site characteristics. such as high voltage.  

· After the Customer’s conduit is placed, the Customer must notify Qwest to schedule an inspection.  

All time commitments set forth herein are dependent upon:  (a) Qwest's receipt from Applicant of an acceptable validated address; (b) Applicant's securing all necessary permits, zoning exceptions or other zoning requirements, permissions, easements of any kind, rights of way and licenses; (c) Applicant's completion of site readiness; (d) Applicant's completing all structures necessary for installation and operation of the Qwest services; (e) Qwest's receipt of a signed Change of Intent (form RG29-0102 as required; and (f) Applicant's satisfying all contingencies within its control that could lead to delays

[image: image14.png]NROC




Tasks for Raw Land Cell Sites

TASKS



CUSTOMER SITE TASKS


· Customer requests the PSR from their Qwest Service Manager or it is available at http://www.qwest.com/wholesale/pcat/wireless/forms/csrawlandparallelbuild.html
· Customer reviews, signs and emails PSR to Service Manager/Project Manager.

· When Project/Service Manager receives the signed PSR they will contact the Qwest Field Engineer.

· A Qwest Field Engineer (FE) will contact the customer to schedule the site visit.

· At the time of the site visit (or earlier if available), the Customer will provide the following documents to the field engineer before Qwest will proceed with determining the due date:

· Site Plan

· Structural Specifications Form

QWEST AND CUSTOMER SITE TASKS
· At the time of the site visit, the Customer and Qwest will discuss the following:

· Point of Feed

· Easement/Right of Way Issues
· Permits Required/Dates they applied for and/or date will be applied for.  (Timeframes expected to get permits)

· Zoning Issues that may impact timeframes
· Qwest space requirements as determined by field engineer:

· Customer/Property Owner provided environmental cabinet (see Qwest specification for environmental cabinet – Cell Site Specifications, Requirements and Definitions)

Qwest provided environmental cabinet (see Cell Site Specifications, Requirements and Definitions)

· Permanent location for NIU placement (if the location of the NIU changes additional charges and testing may apply)
· Wiring beyond demarcation/NIU is available on a time and materials basis (NIU must remain at demarc)

Tasks for Raw Land Cell Sites Continued

TASKS



PROJECT/SERVICE MANAGER TASKS

· After the initial Cell Site visit and all the requirements have been fulfilled, the Qwest Project/Service Manager will have a cell site kickoff call to determine:

1)  The Telco Ready for Service Date (RFS) that was negotiated on the field visit will be formally agreed upon.

2)  The due date and project ID that will be put on the ASR when it is submitted.
CUSTOMER TASK

· The Wireless Service Provider will submit the ASR with the agreed upon due date within 48 hours or the due date will have to be re-negotiated and a SUPP maybe required.


SERVICE DELIVERY COORDINATOR TASKS

· The Qwest Service Delivery Coordinator (SDC) will issue the order with the agreed upon due date.  If it has any due date other than agreed upon it will be rejected. When the order is submitted, the Customer must indicate this is “raw land”.  The order must also contain a legal address, contact name and phone number, and any unique site characteristics.
QWEST AND CUSTOMER TASKS

· Qwest and Customer will complete required build to meet agreed upon due date.


Qwest TOAST (TELCO on a Stick)

Cell Site Build Process

Qwest TOAST (TELCO on a Stick)

Cell Site Build Process

 “Telco on a Stick”,”Enviromental Enclosure” is an environmental cabinet that can be used for Raw Land Cell Site applications that will terminate DS1 service.  It does not preclude the “Raw land” site process. Use of Telco on a stick does not by pass any requirements for work behind the last pedestal. If a job is required to serve the location, a job will still be required for Telco on a stick. What Telco on a stick provides the customer is the reduction of delayed time associated with placement of the Customer Conduit.
The order must still show “RAWLAND” “TELCO ON A STICK” in the RMKS.

The Customer will begin this process with the PSR and the same process will be followed as outlined previously in Qwest Cell Site Build Process.  The Field Engineer will also determine if the site is an appropriate candidate for Telco on a stick. If it qualifies the Field Engineer will advise the customer as to where to place the stick and where permanent conduit will be run. The Field Engineer will identify the requirements, for an environmental box that will be attached to the 4X4 post the customer places on their property.  The Field Engineer will need to inspect the placement of the stick and notify Design Engineering (CP) by updating the RTT system to release the order to be scheduled for Design, Test & Turn up.  (As long as any other pending jobs have been completed.)

Once testing is complete to the customer location, (“NIU, stick”) the customer then accepts the service and the order are completed.  The Customer is responsible to get from the “stick” to the cell tower.

Now that the order is completed and the Customer has extended to the cell tower and they decide they want to test all the way through, a maintenance “test assist” ticket needs to be opened in the repair center.

A new ASR will need to be issued to move their NIU, if the Customer wants it moved from the “stick” to the cell tower. The Customer will need to place an order to Qwest to move the NIU.  The Service Delivery Coordinator (SDC) will need to issue the order recapping the entire circuit and put a “M” (move) action code by the Z-loc channel term and a good remark explaining what is needed.  The installer will do the work and the tester will show time and material USOC’s.  The Service Delivery Coordinator (SDC) will need to transfer them onto the order when it posts to bill the appropriate charges.




[image: image4]
Qwest’s High Voltage Process

Qwest’s High Voltage Process

High Voltage protection may be required when a wireless cell site is located in a High Voltage Location such as substation, or power plant.  Attached to the grounded fence, or within the Zone of Influence of a High Voltage Location, or when the Wireless antennas are attached to a power transmission structure. See pages 29-32. 

 If the PCS customer is using a power transmission structure as a support for their transmitter antenna, and the structure is not located within the zone of influence of an electric power station (see page29):
1The RG31-0048 Design Information for Power Industry Channels Customer Information found at URL link http://www.qwest.com/wholesale/pcat/wireless/forms/designinfopowerindchannel.html  and RG31-0048A Design Information for PCS Channels Customer Information found at URL link http://www.qwest.com/wholesale/pcat/wireless/forms/designinfopcschannel.html forms are required if the customer desires wireline service, or

2The form is not required if the customer desires service on a dielectric fiber, either placed by the customer or placed by Qwest.  This fiber may extend to a copper-to-fiber junction point 500 feet from the power structure, or may extend to the central office (see page 29).
If the PCS customer is using a power transmission structure as a support for their transmitter antenna, and the structure is located within the zone of influence of an electric power station (see page 30) :

1. The form is required, regardless of the mode of service, unless the service is on fiber which extends to the central office.  The central office end and any copper-to-fiber conversion must be located outside the electric power station zone of infuence, and that zone can only be determined through the information on the form.

If the PCS Customer locates their equipment within the zone of influence of an electric power station, regardless of configuration (see page 31 and page 32):

1. The form is required, regardless of the mode of service,unless the service is on fiber which extends to the central office.  The central office end of any copper-to-fiber conversion must be located outside the electric power station zone of influence, and that zone can only be determined through the information on the form.

High Voltage Location over 20,000 Volts

When Qwest Service is placed into a high voltage location where the Ground Potential Rise (GPR) exceeds 20,000 volts, copper facilities cannot be used. In these locations it will be necessary to use a new type of fiber optic equipment that will convert copper to fiber.  This will isolate hazardous voltage to protect both facilities and personnel.
Qwest’s High Voltage Process continued
The USOCs to be used for copper to fiber conversion equipment, when the High Voltage Location is over 20,000 volts are: 
P1QTA – Qwest provided HVP equipment 

If the fiber optic equipment is Qwest provided, rates will be determined on an Individual Case Basis (ICB) and will be billed to the customer up front. There will be no month to month or contract billing for this equipment. 

Billing will be determined by using the Special Construction option, found in the Special Assembly routine in AQCB (Auto Quote and Contract billing System) or the Special Construction using the BART billing process.

     VPQ – Customer provided HVP equipment 

If the fiber optic equipment is customer provided, there will be no month to month or contract billing for the customer provided HVP equipment.

     VPQSP – Span Power for customer provided HVP equipment

When Interstate (FCC) DS1 Service, provided over metallic facilities, is connected to customer provided optical high voltage protection equipment, the Company will provide upon request, DS1 span power from the CO to the CPE electrical-to-optical converter, at the point of termination.  (Span power is only available for high voltage locations, and is limited to 60ma simplex current.)

The USOC to provide DS1 Span Power is VPQSP.

      The monthly rate is $28.00.  There is no nonrecurring charge. 

When providing Central Office Power to DS1 service, the following NCI codes will apply: 

  End User Location                04DU9.1K

             Carrier POP                           04DS9.1BN

             Wireless Location                  04DJ9.*

*Any Valid entry 

Tasks for Raw Land with High Voltage Cell Sites

TASK
DAYS 
RESOURCE

CUSTOMER


Submits request for service at High Voltage Location
0
Customer


Using form (RG31-0048)

BUSINESS OFFICE
1
Business Office


Determines High Voltage Protection option (Customer or Qwest provided)


Mails, Faxes or e-mails form (RG31-0048) to customer

CUSTOMER
1
Customer

Completely fills out the follow up (RG31-0048) form 

ELECTRICAL PROTECTION ENGINEER (EPE)
7
EPE
Compares form (RG31-0048) to existing site 

Documentation and determines the Electrical Protection needed for the site.




SITE VISIT WITH THE FIELD ENGINEER
15
Field Engineer

Site Visit scheduled w/Customer/Property Owner


Field Engineer meets with the Customer/Property Owner


Site Survey Completed 

Compile Field Notes, Site Plan and forward to Electrical Protection Engineer (EPE)


FIELD VISIT INFORMATION SENT TO OSP Engineering
 

 Engineer Job(s) and Establish Ready for Service (RFS) Date         
15
Field/OSP TP/QRE

 RFS date = 45 business days after the receipt of field visit information


 Determine if Special Construction is involved (if yes – complete BART billing process; if no – Engineer job)


BART BILLING

Business Office

Business Office

Bill sent to customer (customer has 30 days to pay the bill)

Payment received and engineering notified – proceed with funding approval and design

Estimated Engineering Completion (EEC) Date = 15 days from site visit)

RFS Date = EEC + 30 Business Days

Due Date = EEC + 41 Business Days    
Job Issued-Prints to Construction
Field/OSP DE/QRE

Tasks for Raw Land with High Voltage Cell Sites continued

CONSTRUCTION ACTIVITY TO BEGIN
30


Qwest Construction
Construction

IMPLEMENTATION
11

Designed Services Design


DS

Central Office Wiring/Testing


DS

Dispatch Technician


DS

Plant Test Date (PTD) Testing


DS

CUSTOMER ACCEPTANCE
   Customer

TOTAL DURATION






                 80 Days (Business Days)

· NOTE:  To meet 80 Business Days, customer conduit must be in and inspected

· NOTE:  Underlined portions of timeline represent customer obligations and stop the clock until customer issues are resolved. 


Timothy L. Conser





Phone (303) 707-5616

Member Technical Staff – Electrical Protection


FAX    (303) 707-9041

700 W. Mineral Avenue, Mail Stop MT g 22.31


Pager  (800) 946-4646 PIN 1720190

Littleton, CoPSRado 80120





Email  tconser@qwest.com
  

April 23, 2001

Memorandum to File:

RE:  Temporary powering of Cell Sites with Generators.

Qwest will provide service at PCS/Cellular sites only after the local municipality has issued a permit and approved the electrical installation and grounding of the site.  When the permanent commercial power is delayed by the local distribution Power Company, due to scheduling, the customer may turn up their site, using a temporary, approved generator; however, the customer must provide a signed off electrical permit before Qwest will provide service.

The temporary generator must meet all local, state, and National Electric Code (NEC) standards for grounding and installation for separately derived systems prior to Qwest providing service.  If you have any questions please contact me.

Respectfully,

Tim Conser

Lead Technical Support Engineer

Electrical Protection

August 24, 2000

Dear Wireless Customer,

In order to better align Qwest processes with technical specifications and provide you with options for reliable service, the following standards are being recommended for your use at High Voltage Locations.

As you are aware, Industry standards require that you provide Qwest with:

· A place to terminate our equipment (i.e. telco room, 4’x8’x3/4 inch plywood backboard, etc.)

· Grounding to the common grounding network (i.e. #6 copper ground wire to power grounding electrode)

· Conduit to the public right of way

· Local Powering (i.e. 120 volt, 20 amp, AC, double duplex outlet)

The local powering is your responsibility at High Voltage locations because the Network Channel Terminating Equipment and Network Interface Unit line powering is blocked by the High Voltage equipment that is required at these locations.  

When you provide the standard 120 volts AC, it is recommended that an Uninterruptible

 Power Supply system be installed and maintained for service continuity.  If commercial power is provided without a backup system, the service will fail when commercial service is lost and may require a service call when power is restored. 

You may choose to install a separate source of power such as a – 48 volt DC system.  Qwest is willing to work with you to ensure we are tied to the same power source to ensure reliability of service.  Again, if the power source is provided without a backup system the service will fail when commercial service is lost and may require a service call when power is restored.

It is also a requirement that all future NIU’s be located in the cell site shelter as a safety precaution.  The goal of locating the NIU in the shelter is to eliminate the need for your personnel to access the High Voltage common equipment.

If you have any questions regarding the powering requirements, please contact Tim Conser, TEC 55 Consultant – Electrical Protection, on 303-707-5616.

Sincerely,

Phil Williams

Vice President - Specialized Markets

Qwest Wholesale Major Markets

RG31-0048 


Rev (9-98)
DESIGN INFORMATION FOR POWER INDUSTRY CHANNELS

CUSTOMER INFORMATION

(Use one form for each service order requested.  See item Service Classification.)

	Customer                                1.



	Location A – Station Name   

                                               2.
	Address

                                3.   
	Tel. No.

                                     4.

	Location B – Station Name

                                               5.
	Address
	Tel. No.


GROUND POTENTIAL RISE (GPR) FAULT DATA

	Fault Circuit X/R Ratio
	Earth Return Fault Current
	Grid Impedance
	Grid Area
	Ground Potential Rise

	Location A

                                               6.
	AMPS

                         7.
	OHMS

                8.
	SQ. FT

               9.     .
	VOLTS

                  10.

	Location B


	AMPS
	OHMS
	SQ. FT.
	VOLTS


CHANNEL TYPE 
Existing Service – New Request – Future Needs)
	11.  
	EXISTING
	NEW
	FUTURE

	2-W Phone, 2 W-Trunk, DC Circuits, ISDN (Type 1 Service)
	     12.
	   13.
	   14.

	Tie Line, Trunk, Radio Remote, Etc. (Type 1 Service)
	
	
	

	2-Wire/4-Wire (Circle 1)
	
	
	

	Digital Data Service (Type 1 Service)
	
	
	

	Pilot Wire Relay (Type 2 Service)
	
	
	

	D.C. Tripping (Type 2 Service)
	
	
	

	A.C. Tone w/o Signaling and High Capacity(DS1)
	
	
	

	Telemetering, SCADA Data (Type 3 Service)
	
	
	

	High Capacity Digital (DS1) (Type 3 Service)
	
	
	

	Audio Tone Protective Relaying (Type 4 Svc)
	
	
	


ENGINEER OR REPRESENTATIVE

(Must have attached sketch of the power station showing present and future power transmission routes.)

	Signature/Date

                           15.
	Tel. No.
	Address


TELEPHONE COMPANY INFORMATION

	Service Order No.

                                            16.
	Due Date
	Circuit Number
	Special Billing Number

	Account Representative
	Tel. No.
	Send to Electrical Protection Engineer



	Electrical Protection Engineer-Signature/Date
	Tel. No.
	Address



	Protection Required
	300 V Pk Point 

Distance FT
	USOC
	Type
	Quantity

	Location A
	
	
	
	

	Location B
	
	
	
	

	Loop Facility Designer


	Tel. No.
	Job Number


INSTRUCTIONS FOR RG31-0048 

1. Customer Name

2. Power Station Name

3.  Power Station Address

4. Power Station Phone Number

5. Other end of requested service if applicable.  Use additional forms for multi-point circuit locations.

6. X/R (inductive reactance to resistance) ratio for worst cast fault current.

7. Worst cast fault current passing through the grid resulting in a Ground Potential Rise (GPR).

8. Grid impedance in relation to remote earth.

9. Area covered by station ground grid in square feet.

10. Ground Potential Rise (GPR) in rms volts.

11. Check appropriate boxes for requested service.

12. Existing number of services of each type now at the location.

13. Number of services of each type being requested.

14. Projected future services of each type expected at this location.  This and items 12 and 13 are needed when a new entrance facility or High Voltage Protection upgrade is required.

15. A signature and date is required from the engineer providing the information or a representative of the company requesting the service.  Include telephone number and address of that person.

16. Make no entries in this area.


RG 31-0048-A


REV 10/98
DESIGN INFORMATION FOR PCS CHANNELS

CUSTOMER INFORMATION

(Use one form for each service order requested.  See item service classification)

	Customer



	Location Station Name
	Address
	Tel No.




Ground Potential Rise (GPR) Fault Data

	Fault Circuit X/R Ratio


	Earth Return Fault Current (RMS AMPS)
	Engineer Signature, Date, Firm, Tel. No.


	Grid Impedence (OHMS)


	Grid Area (Sq. Ft.)
	Engineer Signature, Date, Firm, Tel. No.

	Ground Potential Rise (RMS)


	
	

	Volts


	


PE Stamp or Number

Service Classification
(Definitions of type, Class and USOC are on Reverse of this sheet.  If Class C is requested, leave Class item blank)

	Location


	Type
	Class
	USOC


	Channel Type (Existing Service, New Request, Future Needs
	Existing
	New
	Future

	2-W Phone
	
	
	

	High Capacity Digital (DS1) – Type 3 Service
	
	
	


Telephone Company Information

	Service Order No.


	Due Date
	Circuit Number
	Special Billing Number

	Account Representative
	Tel. No.
	Send to Electrical Protection Engineer



	Electrical Protection Engineer-Signature/Date
	Tel. No.
	Address



	Protection Required
	300 V Pk Point 

Distance FT
	USOC
	Type
	Quantity

	Location A
	
	
	
	

	Location B
	
	
	
	

	Loop Facility Designer


	Tel. No.
	Job Number


DEFINITIONS

CLASS A OR B SERVICE

SERVICE TYPE AND PERFORMANCE OBJECTIVE CLASSIFICATION/USOC*

TYPE 1, CLASS B SERVICE (Phone, tie lines, trunks, radio control, DC alarms, telegraph, DDS)

     All circuits used for talking plus DC telemetering and telegraph.

     Services which require both AC and/or DC transmission and which can tolerate momentary interruptions during a 

     power fault.  (Must function before and after a power fault.)

                                                                 USOC

                                                   2 wire     HVC

                                                 #4 wire     HVA

                                                   4 wire     HVD

TYPE 2, CLASS B SERVICE (DC Tripping, Pilot Wire Relay (Class A performance not available)

     Normally a metallic cable pair end to end, but it can be a DC telegraph channel.  (Metallic facilities are offered only

     where existing facilities and operating conditions permit). 

     Services which require both AC and DC transmission and which can tolerate momentary interruptions during a power

     fault.  (Must function before and after a power fault.)

                                                                    USOC

                                                      2 wire     HVE

                                                    #4 wire     HVB

TYPE 3, CLASS A SERVICE (Data, Telemetering, SCADA)

      Critical non type 4 circuits, which require class A performance.

      Services for AC transmission only, which cannot tolerate even momentary interruption.  (Must  function before, during,

      and after a power fault.)

                                                                     USOC 

                                                       2 wire     HVF

                                                       4 wire     HVG

TYPE 3, CLASS B SERVICE (Data, Telemetering, SCADA)

     All tone signals 300 HZ to 5 MHz and High Capacity Digital (DS1 rate).

     Services for AC transmission only, which can tolerate momentary interruptions during a power fault.  (Must  function

     before and after a power fault.)

                                                                       USOC

                                                        2 wire      HVH

                                                        4 wire      HVJ

TYPE 4, CLASS A SERVICE (Audio Tone Protective Relaying)

     Protective Relaying or Transfer Tip only.  (Voice Grade 12 when interlata.)

     Services for AC transmission only, which cannot tolerate even momentary interruption.  (Must function before, during,

     and after a power fault.)

                                                                        USOC

                                                         2 wire      HVK

                                                         4 wire      HVL

     #Services limited to a maximum ground potential rise (GPR) of 4.0 KV RMS-11 VS.  (Refer to Electrical Protection

        Engineer before selecting.)

CLASS C SERVICE

Interruptible service performance (can tolerate visit to restore service).
If ground potential rise (GPR) is less than 1000 volts peak-asymmetric, no protection is required and Class C service may

be requested.  Electrical Protection Engineer shall determine this.

     *TYPE of service refers to circuit usage.

       CLASS of service refers to reliability of HVP during a power fault.

TECHNICAL PUBLICATION

Technical characteristics for High Voltage Protection (HVP) can be found in the Qwest Technical Publication, Special High Voltage Protection, 77321 http://www.qwest.com/techpub/77321/77321.pdf
Electrical Protection Engineers

Tim Conser

(303) 707-5616

CO, MN, ND, SD, WY

Terry Avery

(503) 251-7041

IA, NE, OR



Dick Reehl

(360) 754-3110

ID, MT, WA



Larry Young

(520) 292-7561

AZ, NM, UT



[image: image5.png]= Tower Sky Wire Protection
PCS Sitel ] @ , okl
C Fiber

cp-504 |58
"Cell-Pak" |2
e W

Telephone Cable

“; COp per'Fler ‘
~ Equipment
General Application

Phase B

Phase C
-

Power
Transmission|

Phase A
.

Transmission Tower |
1 G ‘with L

Equip.

Draft
f% Subject to Change

"String Test"

Drive a stake where the
copper-fiber conversion
equipment is to be
located.

Sky Wire
Sky Wire

20 Extend a 500-foot string

i

o’é "3 f from the stake
®\% .

Stretch the string taut and

d ircle .
Y Powerv raw a circle

Transmission If the string touches

either tower, you are too
close.

Tower

v l
Y
Sky wires are placed for lightning protection. They may not exist in areas of
low lightning incidence.

Phase B

Sky wires link the towers in the transmission line together. During fault
conditions, the towers become a parallel grounding circuit, and each will
share in the ground fault current inversely with their impedance to ground.

In a line with sky wires, 500 lineal feet of separation must be observed
relative to all the towers in the transmission line.






[image: image6.png]Control
House

0 Genefal Appilcatmn >

“ Use of aT ransmlssmnf; |

Substation Draft A
Subject to Change

Transmission Tower

2-inch PVC Conduit
Customer-Provided  #

CP-504
"Cell-Pak”

General Use Cable Plant z

Note:

Fiber
Equip.

The Central Office side of any fiber optics conversion equipment must be placed
outside the Zone of Influence of the nearby substation. Therefore, the electrical
characteristics of the substation must be examined before placing decision can
be made.






[image: image7.png]Transmission Tower

Continuous cable

Telephgne Cable

Fence

Monopole
Tower

Zone of
Influence

Control
House

High Voltage Protection
equipment
is required at the PCS'site.

Telephone General Use Plant

"With In the Zone of Influence"
which may be 1000’ or more






[image: image8.png]Transmission
Tower

Continuous cable

Copper

Telephone Cable
Fence
-~
Monopole
Tower
s o
c
)
o
@
0
=
Control E
H @
ouse Zone of S
Influence o
)
c
o
=
o
Q
[
=

High Voltage Protecfion
equipment
is required at the PCS site.






QWEST Pre-Build Provisioning Process

QWEST Pre-Build Provisioning Process

For Individual Raw Land Cell Sites

Qwest offers a Pre-Build process for engineering, constructing and cabling necessary facilities to raw land sites.

This process is referred to as Cell Site Raw Land Pre-Build Process and is available to customers needing to build facilities prior to issuing an ASR.  Following are the conditions under which Pre-Build is offered: 

Raw land is defined as any location where the customer currently does not have services with Qwest even if other customers have Qwest service at that location.
Customer agrees to pay all engineering and construction charges through the Special Construction billing process.
The Document, which triggers this process, is a Letter of Request (LOR) - Request for Cell Site Raw Land PreBuild with Applicant’s Installation of Conduit signed by the customer and sent to Sales.   A working copy to the LOR Request for Cell Site Raw Land PreBuild with Applicant’s Installation of Conduit form is available at:http://www.qwest.com/wholesale/pcat/wireless/forms/csrawlandprebuild.html
The following are the critical steps that must be followed by QWEST and the Wireless customer:  

· Customer downloads the Request For Cell Site Raw Land Pre-build With Applicant’s Installation of Conduit form from Qwest web site: http://www.qwest.com/wholesale/pcat/wireless.html
· Customer must fill out the request indicating this is “raw land” .  The request must also contain a legal address, contact name and phone number, and any unique site characteristics such as high voltage or multiple users.

· Customer fills out, signs and emails the Request For Cell Site Raw Land Pre-build With Applicant’s Installation of Conduit to their Service Manager 

· When Service Manager receives the signed request, they submit it to appropriate Field Engineer..

· A Qwest Field Engineer (FE) will contact the customer to schedule the site visit.

· At the time of the site visit (or earlier if available), the customer will provide the site plans to the field engineer.  If the site is identified as High Voltage, the appropriate form (Form 48) will be required.  If the site is to be served by 25PR cable, a Letter of Intent will need to be signed by the property owner.  The time frame and point of feed for the conduit placement will be determined.

· Qwest Field Engineer will calculate the Special Construction Charges

· Customer receive a Special Construction bill

· Once payment is received Qwest will move forward on Engineering and Construction  

QWEST Pre-Build Provisioning Process continued

· After the initial Cell Site visit, Qwest will build facilities to the Cell Site in preparation for delivering service, unless a written cancellation notice of this LOR is received by the Qwest Field Engineer.

· If Applicant cancels this Request for Cell Site Raw Land Pre-build, Applicant shall be liable for any and all costs incurred by Qwest through the date of cancellation.  These costs shall include, but not be limited to, the non-recoverable costs of engineering and design, labor, supervision, transportation, rights-of-way and other associated costs at Qwest's prevailing time and material rates. Customer will receive a Special Construction bill.

· After the customer’s conduit is placed, the customer must notify Qwest to schedule an inspection.  Work cannot proceed to complete the order until this notification has been made.

· Qwest will have 30 days after the conduit inspection to complete its construction work.

All time commitments set forth herein are dependent upon:  (a) Qwest's receipt from Applicant of an acceptable validated address; (b) Applicant's securing all necessary permits, zoning exceptions or other zoning requirements, permissions, easements of any kind, rights of way and licenses; (c) Applicant's completion of site readiness; (d) Applicant's completing all structures necessary for installation and operation of the Qwest services; (e) Qwest's receipt of a signed Letter of Intent from Property Owner (form RG29-0102) or Change of Intent for Building Use (form RG29-0101) as required; and (f) Applicant's satisfying all contingencies within its control that could lead to delays

See also the Timeline for Individual Raw Land Cell Sites, Letter of Intent and High Voltage form.

Note 1:  Provisioning facilities for specific service will not be reserved until a valid service order is received from the customer.

Note 2:  This Pre-Build Process for High Voltage Sites requires the High Voltage issues to be resolved and design determined prior to the process beginning.  Some designs may require service orders, due to the equipment Qwest orders is based on service order USOCS.
Timeline for Individual Pre Build Process

TASK
DAYS
RESOURCE

SERVICE MANAGER RECIEVES PREBUILD REQUEST
1

SITE VISIT WITH THE FIELD ENGINEER
15
Site Visit scheduled w/Customer/Property Owner*
 

Field Engineer

    Field Engineer meets with the Customer/Property Owner*


Field Engineer

    Site Plan, Letter of Intent and Conduit Ready Date from Customer*


Customer  

    Site Survey Completed


Field Engineer

Compile Field Notes, Site Plan and forward to create cost quote and send to  

  Special Construction Group for Billing   
 

Special Construction
Customer receive a Special Construction bill                                

Once payment is received Qwest will move forward on 

Engineering and Construction                                                         30                 Customer   
CUSTOMER CONDUIT JOB COMPLETE * 
   

Customer

      Customer must notify Field Engineer & SDC when complete

FIELD VISIT INFORMATION SENT TO DSE


           4



 Engineer Job and Establish Ready for Service (RFS) Date
 

Field Engineer

Job Issued-Prints to Construction* 
 

Field Engineer

Estimated Engineering Completion (EEC) Date = 

    Customer Conduit Ready Date* (min.15 days from site visit)

RFS Date = EEC + 27 Working Days*

Due Date = EEC +  36 Working Days*

CONSTRUCTION ACTIVITY TO BEGIN*
27


QWEST Construction
 

Construction

Inventory Complete and loaded into QWEST data bases

           


FS

CUSTOMER ACCEPTANCE


Customer
TOTAL DURATION






77 Days (Business Days)

· NOTE:  To meet 77 Business Days, customer must submit Special Construction payment and their conduit is in and inspected
· NOTE:  Qwest will engineer and order material while the conduit is being built. 
FORMS
FORMS
PSR Form

A working copy of the PSR is available at the following URL Link:
http://www.qwest.com/wholesale/pcat/wireless/forms/csrawlandparallelbuild.html
LOR Form

A working copy of the Cell Site Raw land Pre-Build Form is available at the following URL link:
http://www.qwest.com/wholesale/pcat/wireless/forms/csrawlandprebuild.html
Structural Specifications (RG 29-0160) Form
A working copy of the Structural Specifications (RG 29-0160) form is available at the following URL Link:
http://www.qwest.com/wholesale/pcat/wireless/forms/structuralspecification.html
High Voltage RG31-0048 Form

A working copy of the High Voltage RG31-0048 form is available at the following URL Link:
http://www.qwest.com/wholesale/pcat/wireless/forms/designinfopcschannel.html













































NOTE:  Delays due to Customer requirements may require re-negotiation of the due date and a SUPP to the ASR.






































Westell / 








NOTE:   Telco on a Stick (TOAST) is not an option at High Voltage Sites.





OPERATIONS CENTER





NETWORK RELIABILITY and





EXAMPLE ONLY





EXAMPLE ONLY


























NOTE:  If the ASR is not submitted within 48 hours of the kick-off call the due date will have to be re-negotiated.





NOTE:  Raw land is defined as any location where the customer currently does not have services with Qwest even if other customers have Qwest service at that location.








NOTE:  If the ASR is not submitted within 48 hours of the kick-off call the due date will have to be re-negotiated.





NOTE: If CIAC or Special Construction is required, the signed contract and either a check or PO must be received by Qwest before a due date is established.





NOTE: If CIAC is required, the signed contract and either a check or PO must be received by Qwest before a due date is established.








NOTE:   Telco on a stick is an option the Customer can request.  It is not a standard we use for every wireless order.   Telco on a Stick is only a “temporary service” and per the Special Construction  tariffs the WSP will be billed for the placement and removal of these facilities.








T


T








PAGE  

_1240376380.bin

_1077450589.doc
[image: image1.png]Qwest."'2







