Rev (2-12)

DESIGN INFORMATION FOR POWER INDUSTRY CHANNELS CUSTOMER INFORMATION

(Use one form for each service order requested.  See item Service Classification.)

| Customer 1. |
| --- |
| Location A – Station Name 2. | Address 3. | Tel. No. 4. |
| Location B – Station Name 5. | Address | Tel. No. |

GROUND POTENTIAL RISE (GPR) FAULT DATA

| Fault Circuit X/R Ratio | Earth Return Fault Current | Grid Impedance | Grid Area | Ground Potential Rise |
| --- | --- | --- | --- | --- |
| Location A 6. | AMPS 7. | OHMS 8. | SQ. FT 9. . | VOLTS 10. |
| Location B | AMPS | OHMS | SQ. FT. | VOLTS |

CHANNEL TYPE

Existing Service – New Request – Future Needs

| 11. | EXISTING | NEW | FUTURE |
| --- | --- | --- | --- |
| 2-W Phone, 2 W-Trunk, DC Circuits, ISDN (Type 1 Service) | 12. | 13. | 14. |
| Tie Line, Trunk, Radio Remote, Etc. (Type 1 Service) |  |  |  |
| 2-Wire/4-Wire (Circle 1) |  |  |  |
| Digital Data Service (Type 1 Service) |  |  |  |
| Pilot Wire Relay (Type 2 Service) |  |  |  |
| D.C. Tripping (Type 2 Service) |  |  |  |
| A.C. Tone w/o Signaling and High Capacity(DS1) |  |  |  |
| Telemetering, SCADA Data (Type 3 Service) |  |  |  |
| High Capacity Digital (DS1) (Type 3 Service) |  |  |  |
| Audio Tone Protective Relaying (Type 4 Svc) |  |  |  |

ENGINEER OR REPRESENTATIVE

(Must have attached sketch of the power station showing present and future power transmission route.)

| Signature/Date 15. | Tel. No. | Address |
| --- | --- | --- |

TELEPHONE COMPANY INFORMATION

| Service Order No. 16. | Due Date | Circuit Number | Special Billing Number |
| --- | --- | --- | --- |
| Account Representative | Tel. No. | Send to Electrical Protection Engineer |
| Electrical Protection Engineer-Signature/Date | Tel. No. | Address |
| Protection Required | 300 V Pk Point Distance FT | USOC | Type | Quantity |
| Location A |  |  |  |  |
| Location B |  |  |  |  |

INSTRUCTIONS FOR RG31-0048

Customer Name

Power Station Name

Power Station Address

Power Station Phone Number

Other end of requested service if applicable.  Use additional forms for multi-point circuit locations.

X/R (inductive reactance to resistance) ratio for worst cast fault current.

Worst cast fault current passing through the grid resulting in a Ground Potential Rise (GPR).

Grid impedance in relation to remote earth.

Area covered by station ground grid in square feet.

Ground Potential Rise (GPR) in rms volts.

Check appropriate boxes for requested service.

Existing number of services of each type now at the location.

Number of services of each type being requested.

Projected future services of each type expected at this location.  This and items 12 and 13 are needed when a new entrance facility or High Voltage Protection upgrade is required.

A signature and date is required from the engineer providing the information or a representative of the company requesting the service.  Include telephone number and address of that person.

Make no entries in this area.