CONTENTS

Chapter and Section	Page

1.	Introduction	1-1

1.1	General (Scope of Document)	1-1

1.2	CenturyLink Quality Audits	1-1

1.3	Quality Policy Statement 	1-1

1.4	Reason For Reissue	1-1

1.5	Document Organization	1-2

2.	General Requirements

2.1	General	 2-1

2.2	Facility Access and Security	2-5

2.3	Facility Environmental Conditions, Upkeep, Storage,

and Handling	2-8

2.4	Environmental, Safety, and Health	 2-10

2.5	Electrostatic Discharge	2-18

2.6	Fire Protection Policy	2-18

2.7	Network Alarms	2-21

2.8	Equipment Performance Tests	2-24

2.9	Maintenance Window	2-24

2.10	Wood Products and Wood for Use in Equipment Locations	2-25

2.11	Letter of Deviation	 2-26

3.	Assembly and Ironwork	3-1

3.1	General Requirements 	 3-1

3.2	Apparatus	 3-2

3.3	Appliance/Base and Utility Outlets and Permanently Mounted

Power Strips	3-2

3.4	Auxiliary Framing	3-2

3.5	Bolts, Nuts, Screws, and Threaded Rods	3-3

3.6	Cable Racks	3-4

3.7	AC Conduit	3-6

3.8	Cotter Pins	 3-6

3.9	Earthquake Considerations	3-6

3.10	Equipment Removal For Reuse or Retirement	3-8

Chapter and Section - continued	Page

3.11	Fiber Optic Protective/Distribution Systems	 3-98

3.12	Frames, Bays, Cabinets, and Stands	3-11

3.13	Framework and Ironwork Components	3-16

3.14	Lighting Fixtures 	 3-16

3.15	Rolling Ladders and Tracks	3-16

3.16	Units of Equipment	3-17

3.17	Antenna and associated Transmission Lines	 3-21

3.18	Earthquake Zone Map	 3-22

3.19	Alignment Tables	 3-22

3.20	Building Envelope Drilling Procedures	 3-23

3.21	Floor Anchors and Installation Instructions	3-24

3.22	Floor Anchor Bolt Modification Procedures	 3-26

3.23	Floor Tile Punch Procedure	 3-27

3.24	Floor Tile Drilling With HEPA Vacuum Attachment	3-28

3.25	Floor Tile Drilling With Separate HEPA Vacuum That Is Not

Attached To Tile Drill	3-29

3.26	Raised Floors	3-29

3.27	Waterproof Floor	3-29

3.28	Battery Containment	 3-30

4.	Cable Holes, Penetrations, and Fire/Smoke Protection	4-1

4.1	General Requirements	4-1

4.2	Closure Labels	 4-2

4.3	Horizontal, Miscellaneous, and Vertical Penetrations	 4-3

4.4	Intumescent Fire Stop Examples	4-3

4.5	Cable Hole/Penetration Designations	4-4

4.6	Approved Materials	 4-4

4.7	Embargoing Blocked/Exhausted Cable Hole Penetrations	4-4

5.	Cabling, Forming, Running, and Securing	5-1

5.1	General Requirements	 5-1

5.2	Cable Mining 	 5-3

5.3	Bending and Forming	 5-5

5.4	Protection and Storage	5-7

5.5	Securing and Supporting	 5-8

5.6	Power cables	 5-10

5.7	Grounding Conductors	5-11

Chapter and Section - continued	Page

5.8	Cable Pile-up	 5-12

5.9	Coaxial Cables 	 5-13

5.10	Fiber Optic Cable	 5-13

5.11	Ribbon Cable	5-18

5.12	Repair of Damaged Cables	5-18

5.13	Spliced Cables, Splicing Systems, and Mated Connectable Cables	5-18

5.14	Use of Nylon and Plastic Cable Ties	 5-19

5.15	Securing Tables	5-20

5.16	Securing Figures 	 5-22

6.	Wiring		6-1

6.1	General Requirements	 6-1

6.2	Fanned and Unsewn Forms	6-1

6.3	Sewn Forms	6-2

6.4	Protection	 6-2

6.5	Cable Tags	 6-2

7.	Connecting	7-1

7.1	General Requirements	 7-1

7.2	Coaxial Connections and Test/Turn-up Parameters	7-1

7.3	Connectable Cables	 7-3

7.4	Crimp Compression Connectors, Splices, and Taps	7-3

7.5	Quick Clip/Slotted Beam Connections 	7-5

7.6	Soldered Connections	7-5

7.7	Solderless Wire Wrapped Connections	7-5

7.8	Solderless Wire Wrapped Exhibits 	 7-7

7.9	Fiber Optic Cable Connections	7-11

8.	Equipment Designations 	8-1

8.1	General Requirements	 8-2

8.2	Color of Characters for Stamping and Labels	8-3

8.3	Designation Conventions	8-3

8.4	Connectors, Connectable  Cables, and Fiber Optics (Singles, Duals, and Quads) 	 8-4

8.5	Distributing and Protector Frames	 8-5

Chapter and Section - continued	Page

8.6	Drawings and Assignment Records	8-6

8.7	AC Circuits	8-6

8.8	Batteries and Battery Stands	 8-6

8.9	DC Breakers, Fuses, Switches, and Shunts	8-7

8.10	DC Distribution Elements	8-9

8.11	Conductors, Leads, Bonding/Grounding Points	8-9

8.12	Mechanical Equipment and Rooms	8-11

8.13	High Temperature Surfaces	8-11

8.14	High Voltage Surfaces	8-11

8.15	Rectifiers, Converters, Inverters, Power Supplies	8-11

8.16	Bus bars and Ground Bars	8-12

8.17	Rolling Ladders	8-12

8.18	Cable Rack Systems	8-13

8.19	Marking Records / Drawings	8-13

8.20	Miscellaneous stenciling and Font Size Tables	 8-13

8.21	Distributing Frame Exhibits 	 8-16

8.22	Bay Equipment Labels	8-17

8.23	Temporary Removal and Installation Tag	8-19

8.24	Labels	 8-19

8.25	Collocation Decommission Cable Tag	8-21

8.26	Fire Code Power Room Door Placard	8-25

8.27	Alarm / OSS Testing Incompletion Tag	 8-26

8.28	Lock out/Tag out Tag	8-27

8.29	Equipment “Removal from Service” Tag	 8-28

8.30	Building Columns	8-29

8.31	Equipment “Hot Surface” Tag	8-30

8.32	NFPA “Very Early Warning Fire Detection Alarm System”	 8-30

8.33	CenturyLink Pair Gain Site “WARNING” Tag	8.31

9.	Power		 9-1

9.1	AC Circuits	9-1

9.2	Primary & Secondary Distribution 	9-7

9.3	Battery Primary Conductors	9-9

9.4	Bus Bars	9-11

9.5	Cabinets	9-12

9.6	Connecting	9-12

Chapter and Section - continued	Page

9.7	Fuse Bays, BDFBs, BDCBB POWER BOARDs, etc	 9-15

79.8	Fuse Contact Preparation and Protection	 9-17

9.9	Knife Switches, Fuses and Fuse Mountings	 9-17

9.10	Standby Engines	 9-17

9.11	Voltage Distribution Requirements	 9-18

9.12	Wire Information Table	9.19

10.	Storage Batteries	10-1

10.1	Cautions	10-1

10.2	General Requirements and Procedures	10-2

10.3	Initial Battery Charge Procedures for Flooded Cells	10-4

10.4	Flooded Lead Acid Type Battery Charging	10-5

10.5	Initial Charge and Turnover Requirements for Flooded Cells	10-6

10.6	Initial Charge Procedures for Valve Regulated Lead Acid Cells 	10-8

10.7	Charge Procedures for Valve Regulated Lead Acid Cells Stored for

Reuse Applications	10-8

10.8	Electrolyte Spills	10-8

10.9	Installation/Removal Requirements for Lithium-based Batteries	 10-9

10.10 	Installation Requirements for Nickel-based Batteries	 10-9

11.	Bonding and Grounding	11-1

11.1	General Requirements 	 11-1

11.2	Central Office and Facility Main Ground Systems	11-2

11.3	Grounding Frames, Bays and Cabinets	 11-3

11.4	Equipment Chassis Shield and Quiet Grounding

Connections 	 11-3

11.5	Isolated and Integrated (Non-Isolated) Grounding Systems	11-4

11.6	Circuit Pack Storage Cabinets	 11-4

11.7	Foreign Object Grounding 	11-4

11.8	Raised Floor Environments	11-5

11.9	Radio Site Ground System	11-6

11.10   Standby Engines and Engine Room Equipment 	 11-7

12.	Central Office Equipment Removals, Installs and the Proper Handling of

Hazardous Materials	12-1

12.1	Introduction	12-1

12.2	The independent contractor is responsible for	12-1

12.3	Equipment Bays And Mercury- Containing Equipment 	12-1

Chapter and Section - continued	Page

12.4	Batteries- Flooded Lead Acid	12-2

12.5	PCB-containing Capacitors And Ballasts	12-3

12.6	Radioactive Tubes 	12-3

12.7	Fluorescent Light Tubes	 12-4

12.8	Asbestos Floor Tile	12-4

12.9	Spills and Emergencies	12-5

12.10	Radiography/x-ray	 12-5

13.	Documentation	13-1

13.1	General	13-1

13.2	Forms List	13-1

13.3	Electronic Job Packet	13-2

13.4	Contents of Job Packet	13-3

13.5	Job Log	 13-4

13.6	Job Completion or Extension Reporting RG 47-0002	13-4

13.7	Job Information Memorandum (JIM) RG 47-0004	13-5

13.8	Service Interruption/Degradation Report RG 47-0013	13-6

13.9	Request For Disposition of CenturyLink Communications Material

RG47-0010	13-6

13.10	Test Records 	13-7

14.	Forms	14-i

14.1	RG33-0017- Straight Bill of Lading (BOL)	14-1

14.2	RG33-0043 - Document and Material Disposition	14-2

14.3	RG41-0046 - Installation Job Log	14-3

14.4	RG41-0170 - Installation Alarm Assignment and Capacity Sheet	14-4

14.5	RG47-0001 - Storage Battery Report	14-5

14.6	RG47-0002 - Installation Revised/Completion Notice	14-8

14.7	RG47-0004 - Job Information Memorandum(JIM)	14-11

14.8	RG47-0005 - General Method of Procedure (MOP) and CLEC MOP	14-12

14.9	RG47-0009 - Report of Equipment Disconnected from Existing Plant	14-16

14.10	RG47-0010 - Request for Disposition of CenturyLink Communication Material 	14-17

14.11	RG47-0013 - Service Interruption/Degradation Report	14-19

14.12	RG47-0157 - Cable Test Record	14-20

14.13	RG47-0160 - CLEC Provisioning Form	14-22

14.14	RG47-0161 – Quality Checklist	14.29

Chapter and Section - continued	Page

14.15	RG47-0162 - Detailed Method of Procedure (Switching and

Switching-related Power)	14-30

14.16	RG47-0165 - Central Office Common Systems Order Form	14-33

14.17	RG47-01660 - Job Site Material Inventory for Missing Items	14-34

14.18	RG47-0168 - Application for Letter of Deviation	14-35

14.19	RG47-0169 - Letter of Deviation	14-36

14.20	CenturyLink Policy on Photography in Central Offices	14-36

14.21	820/840 Series Forms for Power Equipment Turn-Up	14-37

14.22	REGN-154-004-001RG Environmental Equipment Notification –

Batteries	14-37

15.	Method of Procedure (MOP)	15-1

15.1	General Information	15-1

15.2	General Method of Procedures (MOP) and CLEC MOP	15-3

15.3	Detail Method of Procedures	 15-3

15.4	Method of Procedure Preparation:	15-3

15.5	Work Description Details	15-4

15.6	Method Of Procedure Write-Up Review	 15-6

15.7	Approval/Signing Authorities	15-6

15.8	Service Interruptions 	 15-7

15.9	Network Change Management System	15-8

15.10	Planned Impairment of Fire Protection Systems	15-12

16.	Competitive Local Exchange Carrier (CLEC)	16-1

16.1	General Requirements	 16-1

16.2	Cable Holes, Penetrations, and Fire/Smoke Protection	 16-3

16.3	Equipment Designations	16-3

16.4	Local Exchange Carrier (CLEC) Grounding	 16-4

16.5	Competitive Local Exchange Carrier (CLEC) Cancel, Expire, Decommission or Change of Responsibility	16-5

16.6	Collocation Job Documentation	 16-7

17.	Definitions	17-1

17.1	Acronyms	17-1

Chapter and Section - continued	Page

18.	References 	18-1

18.1	CenturyLink Publications	18-1

18.2	Ericsson Publications.	18-1

18.3	Ordering Information	18-1

18.4	Trademarks	18-1

Sketches and Figures

3-1	Network Framework Mounting Hole Reference 	 3-18

4-1	Floor Plan Sketch	4-5

5-1	Starting Stitch	 5-22

5-2	Kansas City Stitch	5-23

5-3	Sewing First Layer 	5-24

5-4	Sewing Second Layer	5-24

5-5	Supporting and Sewing Cables to Supports at Turns	5-25

5-6	Securing Cable to Support with Kansas City Stitch 	 5-26

5-7	9 Ply Cord splice technique 	5-26

5-8	Chicago Stitch Used to Sew Cables Together	 5-27

5-9	Banding of Cables with 9 Ply cord	5-28

7-1	Solderless Wrapped Connecting	7-7

7-2	Minimum Wraps	 7-8

7-3	Example of Good and Bad Wire Wrap	 7-9

7-4	Solder on Terminal 	 7-10

Tables

Table 3-1	Walls and Columns 	3-12

Table 3-2	Aisle Spacing – New Applications	3-12

Table 3-3	Number of Mounting Spaces on Common Equipment	 3-19

Table 3-4	1-3/4” Mounting Spaces on Common Equipment	 3-20

Table 3-5	2-0” Mounting Spaces on Common Equipment	3-21

Table 12-1	Quick Reference Guide for Hazardous Materials by Facility

Type	12-6

Table 12-2	Environmental, Health & Safety Departmental Contact List	12-7

Table 16-1	Grounding Conductor Size Requirements	16-14